October 25, 2013

Mark Burak, P.E.

Burak Consulting

1512 Sagebrush Trail SE

Albuquerque, NM 87123

Re:	8801 Glendale Ave NE, Grading and Drainage Plan

Engineer’s Stamp Date 10-8-13 (B20D021)

Dear Mr. Burak,

Based upon the information provided in your submittal received 10-8-13 and e-mail received 10-17-13, the above referenced plan is approved for Building Permit.

Approval of this grading and drainage plan does not consider the design of the retaining wall(s) or the height of garden wall(s) in the front yard.

A permit is required for construction in the City ROW.  The permit can be obtained from Construction Services on the 8th floor of Plaza del Sol.

This is the plan to certify for release of Certificate of Occupancy.

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Planning Dept.

Development Review Services

C:	e-mail

file