December 7, 2011

David B. Thompson, P.E.

Thompson Engineering Consultants, Inc.

P.O. Box 65760

Albuquerque, NM 87193

Re:	Cantata At The Trails, Pond J Grading Certification

Engineer’s Stamp Date 8-09-11 (C09-D001B)

Dear Mr. Thompson,

Based upon the information provided in your submittal received 11-29-11, the above referenced plan can not be approved for certification until the following have been addressed.

- The existing grades do not reflect the grades on the certification.

- There is approximately an eight foot vertical drop at the 48” storm drain pipe.  The grades have to be sloped back or a section pipe may have to be added.

- Please provide a detail with elevations on the emergency spillway.  It did not appear to have the wings at the two ends.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

# C:	File