April 20, 2017

David Soule, P.E.

Inspections Plus Inc.

4382 Alexander Blvd NE

Albuquerque, NM 87107

**Re: Valle Vista at the Trails-Abrazo**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 4-17-17 (C09E009)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 4-17-17, the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit with the condition that:

1. There are two additional inlets that are not shown on the plan that should have inlet protection. They are located mid-block on Valle Huerto Lane NW. One inlet has a grate and throat and the other one is a grate-only inlet.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email