## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | C09E011B |  | Project Name: |  | Bedrock at The Trails
NPDES Id. No. | NMR1005SI |  | Location: |  | 9300 Woodmont Ave. NW
2025-07-17 |  | Owner |  |  |  | Contractor
Operator |  | Bedrock ABQ Investors, LLC (La Terra Development, LLC.) |  |  |  | LT Building Corp.
Contact name & title |  | Julia Golden |  |  |  | William Leahy President
e-mail |  | juliag@laterradev.com |  |  |  | williaml@ltbuildingcorp.com
Contact Phone # |  | 505-310-9545 |  |  |  | 310-552-0065
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 2pm |  |  |  | Rain
Construction Phase: |  | verticals and grading | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Past Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | clear |  | Temperature: ~ |  |  | 90 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [5 empty] | 2025-07-03 |  |  |  |  | 2021-02-22 | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action | [9 empty] | 2021-04-28
1 | The posting board has fallen over in violation of CGP Part 1.5. Required mitigation: You must post a sign or other notice of your permit coverage at a safe, publicly accessible location in close proximity to the construction site per CGP Part 1.5.
2 | [10 empty] | 2021-05-03
3
2.1 | Discharge off site? (Y/N) |  |  | No | [6 empty] | No
4 | Self Inspection Reports |  |  | OK | Latest report Date: |  | 2025-05-28
Notes:
SWPPP is in the construction office at the southwest side of the site. The superintendent was made aware that the posting had been taken down.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English 505-924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action