May 28, 2015

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

**Re: Noah’s Event Center, Vista Fuente Rd and Loma Fuente Ave**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 5-26-15 (C12E003B4)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 5-28-15 the above referenced plan is approved to be included in the SWPPP and for Grading Permit/Building Permit once the grading plan is approved by Hydrology.

 In the future, the concrete wash-out is to be included on the plan.

 The ESC plan for the construction of Vista Fuente Rd. still needs to be submitted.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email, Grant Morrision