June 9, 2015

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

**Re: Vista Fuente Rd**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 6-2-15 (C12E003B5)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 6-3-15 the above referenced plan is approved to be included in the SWPPP for the construction of the road with the previously discussed condition:

1. A waddle or similar BMP is to be installed at the downstream project boundary. Please update the plan in the SWPPP to reflect this change.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email, Jeff@inpsectionsplus.com