## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | C12E056 |  | Project Name: |  | Smiles For Kids
NPDES Id. No. | NMR10089 |  | Location: |  | 9201 Eagle Ranch Rd. | [5 empty] | Ganon Rowan NOT Jim Tasker
2021-05-07 |  | Owner |  |  |  | Contractor |  |  |  |  | 'ganonrowan@gmail.com'
Operator |  | THR Properties, LLC.
Contact name & title |  | Jim Tasker
e-mail |  | stasker@pediatric.dental.com
Contact Phone #
COA Inspector |  | Thomas Evans |  |  |  | Start/End Time: |  | 11:19 AM/11:22 AM |  |  |  | Rain
Construction Phase: |  | Idle | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Past Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | clear |  | Temperature: ~ |  |  | 77 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [5 empty] | 2021-05-03 |  |  |  |  | 2021-02-22 | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action | [9 empty] | 2021-04-28
1 | Holes in silt fence. Repair silt fence to prevent sediment from exiting the site. | [9 empty] | 2021-05-03
2
3
4
5
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Requested | Latest report Date: |  | 2020-10-20
Notes: | Per superintendent at site C12E003C, this site has been inactive for a long time. Inspections
Plus continues to maintain silt fences. The lot is being used for parking.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Thomas Evans (505-803-6215)
tevans@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action