January 27, 2014

Ronald Bohannan, P.E.

Tierra West, LLC

5571 Midway Park PL NE

Albuquerque, NM 87109

Re:	Caliber’s on Coors, Grading and Drainage Plan

Engineer’s Stamp Date 12-18-13 (C13D025A)

Dear Mr. Bohannan,

Based upon the information provided in your submittal received 12-18-13, the above referenced plan is approved for Site Plan for Building Permit action by the DRB.

The following comments should be addressed when submitting for Building Permit:

- Consider increasing the parking lot slope from 0.1%.

- Consider lowering the finished floor elevation as it appears difficult to achieve an acceptable ADA cross slope (8% proposed) on the sidewalk west of the building.

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Hydrology

Planning Dept.

C:	e-mail, Jon Niski