February 6, 2013

LLO-BRO LLC

4828 Summerlin NW

Albuquerque, NM 87114

Re:	 Stormwater drainage at Tract 2-A-2-C Black Ranch not in Conformance with approved drainage plan.

Dear Property Owner,

AMAFCA has contacted the City due to damages to their property located south of above mentioned tract.  The damage is due to stormwater leaving the Enterprise Rent-A-Car site to the west of your property that should be flowing through your property.  Per the master drainage plan for this area (Wilson & Company, December 2003) the flows from the Enterprise Rent-a-car site should flow into Tract 2-A-2-C, enter the stormwater drain at the southeast corner of Tract 2-A-2-C, and then drain into AMAFCA’s pond.

Fill has been imported into Tract 2-A-2-C, raising the grade so that flows from the Enterprise Rent-A-Car site cannot drain into and through Tract 2-A-2-C per the Master drainage plan.  Since this site is not managing stormwater in accordance with the approved drainage plan, your property is in violation of the City’s Drainage Ordinance (§14-5-2-1 et seq.)

Please remedy this Drainage Ordinance violation by April 15th, 2013.

If you have any questions, you can contact me at 924-3986 or ccherne@cabq.gov.

Curtis A. Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

Copy:  Jerry Lovato P.E., AMAFCA Executive Engineer

Richard Dourte P.E., City Engineer

Jeff Turner, Enterprise Car Rental, 9300 Coors Blvd NW