July 1, 2013

Jackie S. McDowell

McDowell Engineering Inc.

7820 Beverly Hills Ave., NE

Albuquerque, NM 87122

Re:	Lot 32, Unit 2, Black Farm Estates

9204 Black Farm Lane NW

Grading and Drainage Plan

Engineer’s Stamp Date 6/25/2013 (C13/D027A)

Dear Ms. McDowell,

Based upon the information provided in your submittal received 6-27-13, the grading and Drainage Plan is approved for Building Permit.

This project will require an Erosion Sediment Control (ESC) plan and National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge if one acre or more is being disturbed.  A Topsoil Disturbance Permit will also be required if ¾ of an acre or more is being disturbed.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development Review Services

C:	e-mail