November 27, 2017

David Soule, P.E.

Inspections Plus Inc.

4382 Alexander Blvd NE

Albuquerque, NM 87107

**Re: Industrial Water Engineering**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 11-17-17 (C16E006LL)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 11-17-17, the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit and to be included in the Work Order construction plans.

 Please discuss the possibility of relocating the track-out pad to the northeast area of the site with the contractor, since it is uphill.

 Include a copy of the approved plan in the Building Permit set.

Include a copy of the approved plan in the Work Order construction plans.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email