May 29, 2013

John Blessen, P.E.

J. Arthur Blessen Engineering

2429 Zena Lona

Albuquerque, NM 87112

Re:	American Tire Warehouse Addition, Grading and Drainage Plan

Engineer’s Stamp Date 05-22-2013 (C-17/D015)

Dear Mr. Blessen,

Based upon the information provided in your submittal received 05-22-13, the above referenced grading and drainage plan meets the requirements for Building Permit. However, please be advised that before a building permit can be issued an Erosion and Sediment Control Plan (ESC), prepared by a registered professional engineer under the laws of the state of New Mexico, must be prepared, submitted and approved by the Hydrology Department.

A separate Excavation/Barricading Permit is required for SO-19 construction within City ROW.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit.  To obtain a Certificate of Occupancy, the proposed sidewalk culvert and detention pond storm drain penetration must be inspected and accepted.  Please contact Jason Rodriguez, Storm Drain Maintenance, at 857-8074 to schedule an inspection.

Please attach a copy of this approved plan to the construction sets when submitting for a building permit. If the approved plan is not attached to the construction set, Hydrology will reject the construction set for building permit.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required. If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	Email