December 9, 2011

Jeffrey G. Mortensen, P.E.

High Mesa Consulting Group

6010-B Midway Park Blvd NE

Albuquerque, NM 87109

Re:	Land Rover Centre Expansion, Grading and Drainage Plan

Engineer’s Stamp dated 11-16-11 (C17/D103)

Dear Mr. Mortensen,

Based upon the information provided in your submittal received 11-17-11, the above referenced plan is approved for Building Permit.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

Hydrology is requesting that proposed landscape areas be depressed to retain/infiltrate the rain that falls on them.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3986

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

Copy: e-mail