August 31, 2012

Åsa Nilsson-Weber, P.E.

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, New Mexico  87108

Re:	4545 Alameda NE–Grading & Drainage Plan  			   (C17-D120)

Lot 5A, Richfield Park Subdivision   				P.E. Stamp: 8-29-12

Dear Ms. Nilsson-Weber,

Based upon the information provided in your submittal received August 30, 2012, the subject Grading and Drainage Plan is approved for Site Development Plan for Building Permit, Grading Permit, Work Order and Building Permit.

Please attach a copy of this approved plan to the Work Order plans and Building Permit plan sets prior to sign-off by Hydrology.

Prior to our release of a Certificate of Occupancy, an Engineer’s Certification of substantial compliance with this plan will be required, per the DPM checklist.

Being over 1 acre of disturbed area, this project requires a Storm Water Pollution Prevention Plan (SWPPP) and a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge during construction.

If you have any questions, you may contact me by email at grolson@cabq.gov, or telephone 505-924-3695.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  C17/D120

c.pdf	Addressee via Email  AsaW@iacivil.com

Kathy Verhage, DMD KVerhage@cabq.gov