September 13, 2012

Diane Hoelzer, P.E.

Mark Goodwin & Associates, PA

P.O. Box 90606

Albuquerque, NM 87199

Re:	AMERICA’S PASSTIME, Grading and Drainage Plan

Engineer’s Stamp Date 08/28/2012 (C18/D035)

Dear Ms. Hoelzer,

Based upon the information provided in your submittal received 08/28/2012, the grading and drainage plan can not be approved for Building Permit until the following comment has been addressed:

- As mentioned in the email sent on 8/1/2012, the grades on pedestrian connection by the entrance do not meet ADA requirements.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail