March 23, 2016

Ron Bohannan, P.E.

Tierra West, LLC

5571 Midway Park Pl NE

Albuquerque, NM 87109

**Re: Lot 2 (2A and 3A) Del Norte Plaza**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 3-17-16 (C18E042D)**

Dear Mr. Bohannan,

Based upon the information provided in your submittal received 3-18-16 the above referenced plan is be approved to be included in the SWPPP and for ESC Permit for grading and Building Permit with the condition that:

The location of the silt fence on the North and East sides of the project should be at the toe of the slope.

Include a copy of the approved plan in the Building Permit set.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email