|  | Date: 04/23/20 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Legacy NAA Apartments Phase II |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | No issues at the time of this inspection | 03/12/19 |  | 03/12/19 |
| 2 | The site looked good | 03/26/19 |  | 03/26/19 |
| 3 | No issues at the time of this inspection | 04/10/19 |  | 04/10/19 |
| 4 | The concrete washout leaks and will be changed today as soon as posible. | 05/07/19 |  | 05/21/19 |
| 5 | No issues at the time of this inspection | 05/21/19 |  | 05/21/19 |
| 6 | The site looked good. No new issues at the time of this inspection | 06/04/19 |  | 06/04/19 |
| 7 | Cleanup the concrete washed out next to the concrete washout container. Use the CWO for any type concrete. | 06/18/19 |  | 06/27/19 |
| 8 | No issues at the time of this inspection | 06/27/19 |  | 06/27/19 |
| 9 | The site looked good. No new issues at the time of this inspection | 07/03/19 |  | 07/03/19 |
| 10 | Remove the blow away trash at the west side perimeter | 07/11/19 |  | 07/18/19 |
| 11 | No issues at the time of this inspection | 07/18/19 |  | 07/18/19 |
| 12 | Empty the concrete washout | 07/25/19 |  | 08/01/19 |
| 13 | No issues at the time of this inspection | 08/01/19 |  | 08/01/19 |
| 14 | The site looked good. No new issues at the time of this inspection | 08/08/19 |  | 08/08/19 |
| 15 | Remove the blow away trash at the west side of the site. | 08/15/19 |  | 08/22/2019 |
| 16 | No issues at the time of inspection | 08/22/2019 |  | 08/22/2019 |
| 17 | The site looked good. No new issues at the time of this inspection | 08/29/19 |  | 08/29/19 |
| 18 | The site looked good. No new issues at the time of this inspection | 09/05/19 |  | 09/05/19 |
| 19 | No issues at the time of this inspection | 09/12/19 |  | 09/12/19 |
| 20 | No issues at the time of this inspection | 09/19/19 |  | 09/19/19 |
| 21 | The site looked good. No new issues at the time of this inspection | 09/26/19 |  | 09/26/19 |
| 22 | No issues at the time of this inspection | 10/10/19 |  | 10/10/19 |
| 23 | Remove the blow away trash at the southwest side of the site. | 10/24/19 |  | 11/07/19 |
| 24 | Sweep at the entrance/exit on Alameda Blvd. and Oakland Rd. For off site tracking | 11/07/19 |  | 11/21/19 |
| 25 | Only able to view the job site from the perimeter - Gate locked the site looked muddy due to rain | 11/21/19 |  | 11/21/19 |
| 26 | No issues at the time of this inspection | 12/05/19 |  | 12/05/19 |
| 27 | The site looked good | 12/19/19 |  | 12/19/19 |
| 28 | No issues at the time of this inspection | 01/03/20 |  | 01/03/20 |
| 29 | No issues at the time of this inspection | 01/16/20 |  | 01/16/20 |
| 30 | Sweep on Alameda Blvd. For off site tracking | 01/30/20 |  | 02/13/20 |
| 31 | No issues at the time of this inspection | 02/13/20 |  | 02/13/20 |
| 32 | The site looked good at the time of inspection | 02/27/20 |  | 02/27/20 |
| 33 | No issues at the time of this inspection | 03/12/20 |  | 03/12/20 |
| 34 | Concrete washout needs to be emptied | 03/26/20 |  | 04/23/20 |
| 35 | No issues at the time of this inspection | 04/09/20 |  | 04/09/20 |
| 36 | No issues at the time of this inspection | 04/23/20 |  | 04/23/20 |
| SWPPP Management Signature: Date: |  |  |  |  |