|  | Date: 06/07/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Snyder for Mixed Use Alameda Development |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 01 | BMP's in place prior to earth disturbing activities. Street sweeping in progress at the time of inspection. Weather Underground : Casa Opuntia, NE ABQ KNMALBUQ108 | 02/15/19 |  | 02/15/19 |
| 02 | Dumpster requires cover, per the 2017 CGP guideline and city request. | 02/15/19 | Low volume of trash. Tarp on hand with bungee’s, to be covered end of business day. | 02/28/19 |
| 03 | Signatures required by the Owner and Operator designated in the SWPPP book, section 2 "SWPPP acknowledgement". | 02/15/19 |  |  |
| 04 | Operator is required to sign the "letter of delegtion" in the SWPPP book, section 2. | 02/15/19 |  |  |
| 05 | Additional silt fence required, aprox. 10', at the SW corner. Break in silt fence at the tree against neighboring property. | 02/28/19 |  |  |
| 06 | Evidence of recent street sweeping at construction exit. Active watering at the time of inspection. Storm events per Weather Underground: Casa Opuntia, NE ABQ KNMALBUQ108 02/19/19=0.10", 02/22/19=0.04 , 02/23/19=0.16" | 02/28/19 |  | 02/28/19 |
| 07 | No site BMP corrective actions noted at the time of inspection. No active work at the time of inspection. Storm events per Weather Underground: Casa Opuntia, NE ABQ KNMALBUQ108 03/11/19=0.20", 03/12/19=0.43 | 03/13/19 |  | 03/13/19 |
| 08 | No site BMP corrective actions noted at the time of inspection. No active work at the time of inspection. Storm event per Weather Underground: 03/21/19=0.10" | 03/29/19 |  | 03/29/19 |
| 09 | No site BMP corrective actions noted at the time of inspection. No active work at the time of inspection. Dumpster covered. BMP's in good working condition. Storm event per Weather Underground: 03/31/19=0.06" | 04/12/19 |  | 04/12/19 |
| 10 | Storm event on 04/17/19= 0.42". Storm inspection report completed on 04/18/19. | 04/18/19 |  | 04/18/19 |
| 11 | Storm event on 04/22/19= 0.60". Storm inspection report completed on 04/23/19. | 04/23/19 |  | 04/23/19 |
| 12 | Repair blown over portions of fabric fence. Fabric fence blown away from security fence along Alameda. No active work at the time of inspection. | 04/26/19 |  | 05/24/19 |
| 13 | Storm event on 05/09/19= 0.33". Storm inspection report completed on 05/10/19. No active work at the time of inspection. No additional site BMP corrective actions noted at the time of inspection. | 05/10/19 |  | 05/10/19 |
| 14 | Storm event on 05/11/19= 0.31". Storm inspection report completed on 05/13/19. | 05/13/19 |  | 05/13/19 |
| 15 | No active work at the time of inspection. No additional site BMP corrective actions noted at the time of inspection. | 05/24/19 |  | 05/24/19 |
| 16 | Repair blown over portions of fabric fence: South side near construction entrance, approx. 150'. | 06/07/19 |  |  |
| 17 |  |  |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |