|  | Date: 03/28/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Wecks Restaurant |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Ensure there is a spill kit on site | 09/27/18 |  | 10/11/18 |
| 2 | The site looked good. No issues at the time of this inspection. | 10/11/18 |  | 10/11/18 |
| 3 | No issues at the time of this inspection. | 10/25/18 |  | 10/25/18 |
| 4 | No issues at the time of this inspection. | 11/08/18 |  | 11/08/18 |
| 5 | No issues at the time of this inspection. | 11/29/18 |  | 11/29/18 |
| 6 | The site looked good. No issues at the time of this inspection. | 12/13/18 |  | 12/13/18 |
| 7 | No issues at the time of this inspection. | 01/03/19 |  | 01/03/19 |
| 8 | All BMP's in place. No new issues | 01/17/19 |  | 01/17/19 |
| 9 | No issues at the time of this inspection. | 01/31/19 |  | 01/31/19 |
| 10 | Trackout pad will be installed soon | 02/14/19 |  | 02/28/19 |
| 11 | Remove the blow away trash at the south side of the site | 02/28/19 |  | 03/13/19 |
| 12 | No issues at the time of this inspection. | 03/13/19 |  | 03/13/19 |
| 13 | Cleanup the concrete washed out at the Southwest corner of the site | 03/28/19 |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |