Development & Commercial Stormwater Construction Site Inspection Report
	General Information

	Project Name
	Wecks Restaurant

	Owners/Operators Name
	Tanglewood Construction

	Date of Inspection
	03/28/19
	Start Time
	9:32 AM

	Inspector’s Name(s)
	Marcos Valadez

	Inspector’s Title(s)
	Inspector

	Inspector’s Contact Information
	marcos@inspectionsplusinc.com

	Inspector’s Qualifications
	Training and work experience – see inspector qualification page in section 2 of the SWPPP.

	Type of Inspection:

 FORMCHECKBOX 
 Regular           FORMCHECKBOX 
 During storm event           FORMCHECKBOX 
 Post-storm event 

	Weather Information

	Has there been a storm event since the last inspection?       FORMDROPDOWN 

If yes, provide:

Storm Start Date:             Approximate Amount of Precipitation (in):      


	Weather at time of this inspection?
 FORMCHECKBOX 
 Clear       FORMCHECKBOX 
Cloudy       FORMCHECKBOX 
 Rain       FORMCHECKBOX 
 Sleet        FORMCHECKBOX 
 Snowing      FORMCHECKBOX 
 High Winds       FORMCHECKBOX 
 Partly Cloudy
 FORMCHECKBOX 
 Other:      


	Have any discharges occurred since the last inspection?      FORMDROPDOWN 

If yes, describe:        

What did the water look like at the time of the discharge?  Clear  FORMCHECKBOX 
  Partly turbid   FORMCHECKBOX 
  Very turbid


	Are there any discharges at the time of inspection?     FORMDROPDOWN 
   

If yes, describe:      
What did the water look like at the time of the discharge?  Clear  FORMCHECKBOX 
  Partly turbid   FORMCHECKBOX 
  Very turbid


	1. Is a rain gage installed on site?    FORMDROPDOWN 
   Where is it located?   next to the const Trailer
2. Has the Rain Event page been filled out?   FORMDROPDOWN 
        
3. Are there MSDS sheets on site?    FORMDROPDOWN 
     Where are they located?       
4. Has the SWPPP been signed on the certification page?     FORMDROPDOWN 
   What companies have signed?  Tanglewood Construction
5. Have the delegation letters been signed?     FORMDROPDOWN 
     What companies have signed?  Tanglewood Construction
6. Has a delegation of authority been filled out for who is signing the inspection reports?    FORMDROPDOWN 
    Who is signing the inspection reports?  Ken Ruppenthal
7. Has the “Chemical On Site” form been filled out?     FORMDROPDOWN 
        
8. Is there a spill kit on site?    FORMDROPDOWN 
   Where is it located?  In The Construction Trailer
9. Have they done any training for the supervisors or others?   FORMDROPDOWN 

10. Was the inspector able to train any one on this visit?  FORMDROPDOWN 
  Who did you speak with?  Ken Ruppenthal


	Are the SWPPP and inspections available on site?
	 FORMDROPDOWN 

	The SWPPP book and inspections are located at The construction Trailer.


	Notes

	1.   Send inspections to Ken Ruppenthal  -   kenrupp101@gmail.com

	2.        

	3.        


	Final Stabilization/Termination Checklist.

	1.
	Are all soil-disturbing activities complete?
	 FORMDROPDOWN 

	     

	2.
	Have all inactive areas of the site not covered by pavement or structure achieved a density of 70% coverage?
	 FORMDROPDOWN 

	     

	3.
	Date of Final Stabilization.
	 FORMDROPDOWN 

	     

	If construction ceases on the site for more than 14 days, the site must be stabilized until construction resumes.

	Date Construction Stopped
	     
	Date Construction Resumed
	     

	Measures Taken to Stabilize the Site.
	     


	Verify what stage of construction the project is in, and record dates when activities started and were completed.

	Construction Phasing

	Activity
	Current Status
	Activity Started / Completed

	Installed BMPs
	Silt Fence, Portable Toilet,Mulch Sock
	Started:             
Completed:  09/17/18

	Site Clearing and Grading
	Completed
	Started:        09/17/18
Completed:  10/25/18

	Installing Utilities
	Continue to be installed
	Started:        10/16/18
Completed:       

	Building Structure
	 Interior and exterior work in progress
	Started:        11/22/18
Completed:       

	Paving and Walks
	Sidewalks, Curb and gutter in progress. 03/28/19  They are preparing for Paving.
	Started:        02/13/19
Completed:       

	Final Grading/ Stabilize Site
	     
	Started:             
Completed:       

	Other
	     
	Started:             
Completed:       


Site-specific BMPs

· The corrective actions initiated and date completed are in the Corrective Action Log.
	
	List of BMPs Installed
	BMP Installed?
	BMP Maintenance Required?
	Notes

	1
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	2
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	3
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	4
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
   Most of the silt fence has been removed to pour curb and sidewalks

	5
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	6
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	7
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	8
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	9
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	10
	 FORMDROPDOWN 
        
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        


	

	1
	Are the BMPs shown on the map?
	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	2
	Were there changes to the SWPPP?
	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	3
	Has the SWPPP been updated?
	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	4
	Were the changes to the SWPPP implemented within 7 days?
	 FORMDROPDOWN 

	 FORMDROPDOWN 
        


	
	New BMPs needed
	Notes

	1
	 FORMDROPDOWN 

	 FORMDROPDOWN 
       

	2
	 FORMDROPDOWN 

	 FORMDROPDOWN 
       

	3
	 FORMDROPDOWN 

	 FORMDROPDOWN 
       

	4
	 FORMDROPDOWN 

	 FORMDROPDOWN 
       

	5
	 FORMDROPDOWN 
        
	 FORMDROPDOWN 
       


Overall Site Issues

A list of corrective actions will be supplied with this inspection.
	
	BMP/activity
	Implemented?
	Maintenance Required?
	Corrective Action Needed and Notes.

	1
	Are all slopes and disturbed areas not actively being worked properly stabilized?
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	2
	Are natural resource areas (e.g., streams, Arroyos, mature trees, etc.) protected with barriers or similar BMPs?
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
   All BMP's in place

	3
	Are perimeter controls and sediment barriers adequately installed (keyed into substrate) and maintained?
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	4
	Are discharge points and receiving waters free of any sediment deposits?
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	5
	Are storm drain inlets properly protected?
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
   No inlets in this project

	6
	Is the construction exit preventing sediment from being tracked into the street?
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	7
	Is trash/litter from work areas collected and placed in dumpsters?
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	8
	Are washout facilities (e.g., paint, stucco, concrete) available, clearly marked, and maintained?  
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	9
	Are vehicle and equipment fueling, cleaning, and maintenance areas free of spills, leaks, or any other deleterious material?  
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	10
	Are materials that are potential storm water contaminants stored inside or under cover?
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	11
	Are non-storm water discharges (e.g., wash water, dewatering) properly controlled?
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	12
	Has the Site map been updated to reflect current conditions?
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	The  FORMDROPDOWN 
 map has been updated.

	13
	Is the NOI posted
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	NOI Posting Location:
Construction trailer's window

	14
	Were previous corrections made within 7 days of last inspection or before the next storm event?
	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        

	15
	(Other)

     

	 FORMDROPDOWN 

	 FORMDROPDOWN 

	 FORMDROPDOWN 
        


	Walk through the facility and look for signs of pollution including paint, solvents, chemicals, solid waste, oil, and fuel.

	1
	Are there any signs of hazardous materials being exposed to storm water runoff?
	 FORMDROPDOWN 

	     

	2
	Have there been any reportable quantities releases of hazardous materials?
	 FORMDROPDOWN 

	     


CERTIFICATION STATEMENT

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”
Print name: Marcos Valadez
Title: Inspector

Signature:                                            [image: image1.jpg]


   
Date: 03/28/19


SWPPP Management Signature: 
Date:
 































1
Ver 092314
2

