## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | C19E042_T |  | Project Name: |  | Rohan Subdivision
NPDES Id. No. | NMR1001V3 |  | Location: |  | 7519 Eagle Rock NE
2021-06-30 |  | Owner |  |  |  | Contractor | [5 empty] | richganter@lobo.net |  | 505-797-6655
Operator |  | Tiara Homes
Contact name & title |  | Rich Gantner
e-mail |  | richgantner@lobo.net
Contact Phone # |  | 505-797-6655
COA Inspector |  | Thomas Evans |  |  |  | Start/End Time: |  | 12:35 PM-12:45 PM |  |  |  |  | Rain
Construction Phase: |  | Home construction | [10 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Past Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  |  | Windy
Clear
Weather at time of inspection? |  |  |  | rain |  | Temperature: ~ |  |  | 70 |  |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [5 empty] | 2021-06-28 |  |  |  |  | 2021-02-22 |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [12 empty] | Fog
Item Number | Deficiency/ Corrective Action | [9 empty] | 2021-04-28
1 | Sediment/leaves built up around inlet. Remove sediment/leaves around the inlet. Reposition the wattle to prevent sediment from entering the inlet.
2 | SWPPP not available on site and the location of it is not on the NOI posting. Identify location of SWPPP on the NOI posting.
3 | No sediment control BMP along perimeter fence of home lot. Install a sediment control BMP along the fenceline to prevent sediment from exiting the site.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Requested | Latest report Date: |  | 2020-09-11
Notes: | No activity on site. Photos were taken on June 1, 2021 after a rain event on May 31.
With the exception of the inlet protection, site conditions appear to the be the same.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Thomas Evans (505-803-6215)
tevans@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action