HYDROLOGY REPORT

FOR

NORTH ALBUQUERQUE ACRES/SANDIA HEIGHTS

DRAINAGE STUDY

PHASES I & II

Prepared For:

Bernalillo County

Public Works Division

Prepared By:

1720-B Randolph Road SE

Albuquerque, NM  87106

(505) 243-7300 - (505) 243-7400 fax

rti@nmia.com

November 1998

(Revised)

Table of Contents

I.	INTRODUCTION	1

A.	Location	1

B.	Purpose	1

C.	Background	1

II.	HYDROLOGY	2

A.	Previous Studies	2

B.	Assumptions and Methodology	2

C.	Existing Storm Drainage Facilities	5

D.	Hydrology Results	6

III.	SEDIMENT AND EROSION	7

A.	General Issues	7

B.	AMAFCA Study	7

C.	Results	7

List of Tables

TABLE 1	BULKING FACTORS FOR SEDIMENT AS A FUNCTION OF FLOW RATE	3

TABLE 2	FUTURE FULL DEVELOPMENT HYDROLOGIC CONDITION ASSUMPTIONS	4

TABLE 3	HYDROLOGY SUMMARY	9

TABLE 4	COMPARISON OF HYDROLOGY RESULTS WITH PREVIOUS STUDIES	12

TABLE 5	SUMMARY OF NORTH DOMINGO BACA ARROYO SYSTEM	14

TABLE 6	SUMMARY OF SOUTH DOMINGO BACA ARROYO SYSTEM	15

TABLE 7	SUMMARY OF EXISTING CONDITIONS EL CAMINO ARROYO	16

TABLE 8	SUMMARY OF EXISTING CONDITIONS LA CUEVA ARROYO	17

TABLE 9	SUMMARY OF EXISTING CONDITIONS LA CUEVA TRIBUTARY ARROYO	18

I.	INTRODUCTION

A.	Location

The North Albuquerque Acres/Sandia Heights-South, Phase I and Phase II study areas are located in the far northeast quadrant of Albuquerque.  The Phase I area is roughly bounded by Eubank Boulevard on the west, Sandia Pueblo on the north, U.S. Forest Service land on the east and San Antonio Avenue on the south.  Phase II is the unincorporated area west of Eubank and North of Paseo del Norte.  See Exhibit 1.  Three major transportation corridors traverse the area; Tramway Boulevard from north to south divides North Albuquerque Acres from Sandia Heights; Paseo del Norte divides North Albuquerque Acres along an east to west line from Tramway Boulevard to the west, and, also on an east-west axis, Alameda extends from the municipal limits to Eubank.

B.	Purpose

The purpose of the North Albuquerque Acres Drainage Study is to prepare a coherent plan that will serve as the design analysis for future flood control improvements within the project area and to establish guidelines for development of existing platted lots.  Utilizing existing studies where possible, supplemented with additional hydrologic and hydraulic analysis when required, and coordinated with the activities of other governmental agencies and private parties, the goal of the project is to provide a conceptual framework for future storm water management activities.  Furthermore, proposed solutions are to be integrated with existing facilities to the greatest extent possible.  Existing and proposed roadway profiles are to be evaluated with regards to drainage considerations.  Interim findings for Phase I (pending FEMA acceptance of revised floodplain mapping) have been presented in the North Albuquerque Acres and Sandia Heights - South Drainage Study Infrastructure Plan (October, 1998).

C.	Background

The major portion of the project area is part of the North Albuquerque Acres Subdivision, originally platted in the 1930's on a uniform grid made up of nominal one acre lots.  Topographic features and drainage patterns were ignored.  Prior to the 1980's the only areas that saw significant development were the Sandia foothills (Sandia Heights) along Tramway Boulevard and some areas immediately adjacent to the I-25 corridor, several miles west of the study area.  The area west of Tennyson Avenue started to experience limited single lot housing construction during the late 1980's.  This was followed in the early 1990's with the Primrose Point Subdivision, which involved replatting for higher housing densities.  With the exception of land immediately adjacent to Tramway Boulevard and the replatting for the Primrose Point subdivision most of the North Albuquerque Acres subdivision has continued to develop by construction of individual homes on existing one acre lots.

Sandia Heights subdivision was platted in the late 1960's into a mixture of one half acre lots in the foothills and higher densities adjacent to Tramway Boulevard.  While the lots were laid out along winding roads taking maximum advantage of topographic features for home sites, little provision was made for the major arroyos that traverse the site from east to west.  While dip-sections and culverts were constructed for road crossings, drainage easements were not provided for.

With the increased level of development has come increased concern with drainage issues.  Beginning in 1974, with the Leonard Rice ANortheast Heights Drainage Management Plan@ (AMAFCA, 1974), a series of drainage studies have been conducted that have resulted in the construction of flood control facilities to serve some of the needs in the area.  These consist primarily of two AMAFCA flood control detention dams and related appurtenances, the Pino Diversion structure and transportation related hydraulic structures and storm drains along Paseo del Norte and Tramway Boulevard. With the exception of Primrose Point and some of the more recent townhouse development along Tramway few storm water management facilities have been constructed by private parties in the Phase I area.  In the Phase II area west of Eubank a lined channel on the North Camino Arroyo for the Sunset Hills Estates subdivision and several small detention ponds are the main drainage improvements.

II.	HYDROLOGY

A.	Previous Studies

The current study has made extensive use of previous study efforts in the North Albuquerque Acres area.  These consisted of the "Hydrology Report:  La Cueva, El Camino and North Camino Arroyos Drainage Management Plan," September, 1996, and the "North and South Domingo Baca Arroyos and Paseo del Norte Corridor Drainage Management Plan," December, 1991, both prepared for the Albuquerque Metropolitan Arroyo Flood Control Authority (AMAFCA) by RTI.

The North and South Domingo Baca Arroyo basins have seen extensive development since the completion of the AMAFCA study which necessitated major modifications to the hydrology model which are discussed below.  The more recent work on the La Cueva, El Camino and North Camino basins has been incorporated into this study with only minor modifications.  The current study ties in with the City of Albuquerque=s recently completed Master Drainage Plan for North Albuquerque Acres (October, 1998), sharing a common hydrology model.

B.	Assumptions and Methodology

1.	General

All of the hydrological analysis contained in this report, including the above referenced AMAFCA studies, are based on the City of Albuquerque's Development Process Manual, Volume 2, Design Criteria, Section 22.2, Hydrology, January 1993 and the Bernalillo County Drainage Ordinance.  Two exceptions taken to this methodology were to adopt the AMAFCA convention of treating rock outcrops in mountain areas as land treatment type C rather than as type D and the use of the 24-hour instead of the 6-hour, 100-year storm.  These modifications were done in order to be consistent with the earlier hydrology studies in the area.

2.	Routing and Sediment

The Muskingcum-Cunge method was used for all channel routings and the Variable Storage Coefficient method was used for closed conduit flow.  Bulking factors were not added to the basic hydrology model but are reflected in all tabular values according to the rates shown in Table 1.  See the Appendix for a discussion of the origins of this table.

| TABLE 1 BULKING FACTORS FOR SEDIMENT AS A FUNCTION OF FLOW RATE* |  |
| --- | --- |
| Clean Water Flow Rate, Q (cfs) | Bulking Factor (%) |
| 0 - 500 | 4 |
| 501 - 1000 | 5 |
| 1001 - 1600 | 6 |
| 1601 - 2100 | 7 |
| 2101 - 2600 | 8 |
| 2601 - 3200 | 9 |
| 3201 - 3700 | 10 |
| 3701 - 4200 | 11 |
| *Valid for NAA and Sandia Heights natural channels west of USFS Boundary only, D50 1.5 mm - 3.0 mm |  |

3.	Land Use

Existing condition land uses and sub-basin boundaries were taken from aerial photography flown for AMAFCA and/or Bernalillo County in 1991, 1994 and 1995 and by extensive field investigation.  Subdivisions that had proceeded to the rough grading phase by October 1997 were considered as existing.

Future Conditions land treatments, shown on Exhibit 2, are based on the following assumptions concerning future development in specific areas.

$	Sandia Heights/Tramway Boulevard (SH/TB):  This area would be built out in patterns reflecting existing development.

$	North Albuquerque Acres (NAA):  The area between Ventura Street and Tennyson Street as well as the area east of Coronado Airport and north of Florence Avenue would continue to develop along the lines of the existing one acre lot platting.

$	Residential (R):  The area west of Ventura Street, south of Florence Avenue and east of Louisiana Boulevard would develop as relatively high density residential.

$	Commercial/Industrial (C/I):  The area west of Louisiana Boulevard, north of Modesto Avenue and east of I-25 would develop as high density commercial and industrial.  Also used for Paseo del Norte Corridor.

$	Medium Density Industrial (MI):  Campus type industrial facilities and APS schools sites.

$	Sandia Tribal Lands (ST):  Sandia tribal lands south of Tramway Road and north of the Sandia Pueblo Grant Boundary were allocated land treatments consistent with moderate levels of development even though there are no current plans to develop this area.

$	Primrose Point (PP): This major subdivision was allocated a distinct set of land use assumptions.

The relative weight of each type of Land Treatment is shown in Table 2.

| TABLE 2 FUTURE FULL DEVELOPMENT HYDROLOGIC CONDITION ASSUMPTIONS |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Land Treatments (%) |  |  |  |
|  | A | B | C | D |
| Sandia Heights/Tramway (SH/TB) | 20 | 40 | 5 | 35 |
| North Albuquerque Acres (NAA) | 22 | 23 | 38 | 17 |
| Residential (R) | 0 | 34 | 16 | 50 |
| Commercial/Industrial (C/I) | 0 | 20 | 10 | 70 |
| Medium Density Industrial (MI) | 0 | 20 | 30 | 50 |
| Sandia Tribal Lands (ST) | 20 | 20 | 40 | 20 |
| Primrose Point (PP) | 0 | 35 | 35 | 30 |

There are some major differences in the future full development land use assumptions between this report and those used in the North and South Domingo Baca Arroyos and Paseo del Norte Corridor Drainage Management Plan (1991).  In the 1991 AMAFCA Drainage Management Plan portions of this basin east of Ventura were assumed to have development densities of either 1 to 3 or 3 to 5 DU=s per acre for the future full development condition.  But these densities have not materialized over the last six years.  Instead of a consolidation of existing one acre lots for replatting at higher densities there has been extensive residential construction utilizing the existing platting.  This checkerboard nature of housing construction has made the future assemblage of undeveloped lots for replatting at higher densities very difficult.  Therefore, a re-evaluation of the earlier assumptions was in order.  This resulted in adopting the land treatment values used by AMAFCA in the Hydrology Report:  La Cueva, El Camino and North Camino Drainage Management Plan (1996) for the unincorporated areas of the La Cueva and Camino basins for the unincorporated portions of the North and South Domingo Baca basins and the Pino basin.

4.	Drainage Basins

The major drainage basins were divided up by arroyo system watersheds.  These were further subdivided in order to obtain calculated flows at points of interest or Analysis Points.  In undeveloped areas sub-basins generally reflect topographical features.  Existing and future condition basins are shown on Exhibits 3 through 15.

In developed areas that have been replatted terrain has been significantly modified and sub-basins often reflect the subdivision development process.  Storm drains have been installed that discharge to improved conveyance facilities.

Sub-basin hydrologic characteristics are summarized in tables in the Appendix.

5.	Avulsions

Identification and possible remediation of potential avulsions within the study area is another task identified in the project scope.  An avulsion can be defined as a location where the flow path of an arroyo may change course, either totally, or partially.  This change in course may be the result of natural forces, such as wind or water, or due to some human activity such as road building or site grading.  An avulsion may occur over time as the historic arroyo bed is altered by natural processes or may occur quickly if caused by human activity.  All of the arroyo systems in the North Albuquerque Acres area are subject to the effects of potential avulsions.  Many of the major avulsions which cause concern in the study area were identified in the AMAFCA's La Cueva, El Camino and North Camino Drainage Management Plan (1996) and subsequently discussed in a Report on North Albuquerque Acres Arroyo Avulsion Problems (March 1997).  Major avulsion locations are shown on Exhibits 3 through 15.  The hydrology presented in this report assumes that all avulsions have been controlled.  If infrastructure is designed prior to controlling potential upstream avulsions that could impact the project, the "worst case" flows presented in the 1997 AMAFCA Avulsion Report should be considered.  AWorst case@ flows from the AMAFCA report are reproduced in the Appendix.  Control measures for the major avulsions will be coordinated with AMAFCA and other public agencies.

There are also numerous minor avulsions located in the study area.  These have been identified and control measures are proposed in the NAA/SH Infrastructure Plan.

C.	Existing Storm Drainage Facilities

Private parties have constructed several major channels and storm drains as part of the subdivision process.  These include the following:

$	A one half-mile lined channel on the North Camino Arroyo at Sunset Hills.

$	A one half-mile improved conveyance for the North Domingo Baca Arroyo at Primrose Pointe.

$	A one thousand foot lined channel for a North Domingo Baca tributary at Primrose Pointe.

$	A storm drain in Tennyson taking flows from the Willow Bend Subdivision to the Pino Arroyo at Tramway.

The Albuquerque Metropolitan Arroyo Flood Control Authority (AMAFCA) has constructed two major storm water detention facilities in the Phase I study area.  These are the North Domingo Baca Dam and the South Domingo Baca Dam.  A major concrete lined channel diverts one of the South Domingo Baca Arroyo tributaries to the South Domingo Baca Dam.  Two major La Cueva Arroyo tributaries have been diverted to the North Domingo Baca Dam by a concrete lined channel.  An AMAFCA constructed riprap lined channel and sediment basin between Lowell and Browning at Santa Monica diverts part of the North Pino arroyo flows to the Pino Arroyo system.

In addition to the two major detention dams there are about a dozen minor detention ponds (less than one half acre-foot) scattered throughout the Phase I and Phase II study areas.  Most of the detention ponds are privately maintained.

Other publically financed drainage facilities include major storm drains in Paseo del Norte and Tramway Boulevard.  One of the Tramway storm drains diverts a minor North Domingo Baca Arroyo tributary near Live Oak Road to the South Domingo Baca Dam.  Another Tramway storm drain diverts a North Pino Arroyo tributary near San Rafael to the Pino Dam (south of the study area).  Soon to be under construction is an additional 1000-feet of channel improvements on the North Domingo Baca Arroyo east of Tramway Boulevard.

Currently there are 113 road crossing culverts, six concrete box culverts, and one bridge in the Phase I area, and five roadway culverts and one bridge in the Phase II area.  Most of these were constructed either as part of the subdivision process or as a part of major road projects.

Other Bernalillo County projects currently under design in the Phase I and Phase II study areas are diversions from the Paseo del Norte corridor to the South Domingo Baca Dam at Lowell and to the North Domingo Baca Dam just east of Eubank.  Additional Paseo del Norte strom drains west of Eubank will tie into the recently constructed City of Albuquerque system from Wyoming to I-25.

D.	Hydrology Results

The results of the hydrologic analysis are summarized in Table 3.  Table 4 provides a comparison of the results of this study with those of previous studies in the project area.  Additional data on individual basins is contained in the Appendix.

It should be noted that the North and South Domingo Baca basin existing condition models incorporate the Paseo del Norte Storm Drains from Tennyson to I-25.  The Wyoming to I-25 segment is currently under construction and the Eubank to Wyoming segment is under design and scheduled for construction in 1999.  The Eubank to Tennyson segment will be constructed soon thereafter and these storm drains will outfall either to the North or South Domingo Baca dams.

The future condition model for the South Domingo Baca basin includes a storm drain diversion to the South Domingo Baca dam at Lowell and the conveyance of the dam discharge in a pipe to Eubank as proposed by the AMAFCA North and South Domingo Baca Arroyos and Paseo del Norte Drainage Master Plan.  These facilities were included in the plan in order to maximize the flows to this existing facility.

The future condition model for the North Domingo Baca basin includes concrete lining the North Domingo Baca Arroyo from Tramway Boulevard to Tramway Lane.  This project has been designed with construction due to start in 1999.

III.	SEDIMENT AND EROSION

A.	General Issues

Sediment and erosion issues are significant problems with the natural arroyos coming off the mountains in the Sandia Heights and North Albuquerque Acres area.  Arroyo bed aggradation is one of the major natural driving forces in the avulsion process.  Arroyo bed degradation poses a long term threat to property owners by threatening to undercut foundations and roads.  There are many existing homes, built prior to 1994, within what are now considered to be the minimum erosion setback lines.  Therefore, an attempt has been made to highlight the areas where significant aggradation or degradation are taking place on the major branches of the natural arroyos.

B.	AMAFCA Study

The main branch and the southern tributary of the La Cueva arroyo and the El Camino arroyo were studied extensively as part of the AMAFCA La Cueva, El Camino and North Camino Arroyos Drainage Facility Plan (1998).  The section covering sediment and erosion issues is reproduced in the Appendix and copies of their summary tables and figures are included in this section.  The methodology described in the AMAFCA report was utilized in this study for an analysis of the North and South Domingo Baca Arroyos utilizing the cross section data prepared for the FEMA Re-Study of these arroyos.

C.	Results

The results of the sediment and erosion analysis for the North and South Domingo Baca Arroyos are summarized in Tables 5 and 6 and on Figure 1.  Tables 7, 8 and 9, which cover the El Camino, North Camino and the La Cueva, are from the AMAFCA Report as are Figures 2 and 3.  As can be seen there are major depositional areas in both Sandia Heights and in North Albuquerque Acres.  These areas will require long term monitoring and possible periodic sediment removal.  Care should be taken in the design of any future road crossing structures in order to avoid aggravating the existing problem.

The degradational reaches pose less of a problem in that existing and proposed future road crossing structures will provide limits on the depth and extent of future head cuts, especially in the Sandia Heights area.  Here there are numerous road crossing structures at frequent intervals.  However, on long reaches without road crossing structures, typical of some parts of North Albuquerque Acres, it may be necessary to construct grade control structures to stabilize the arroyo bottom.  Stabilizing degradational areas will also provide a benefit to the downstream aggradational areas by limiting the available sediment supply.

| TABLE 3 HYDROLOGY SUMMARY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | AP # | AREA (sq mi) | Vol-100-yr (ac-ft) | Qp-100-yr (cfs) |
| North Camino - Main |  |  |  |  |  |
| @ Holbrook | Existing Future | 303.9 | 2.0642 | 140.715 149.012 | 1605.0 1651.6 |
| @ Ventura | Existing Future | 305.19 | 2.2333 | 150.768 162.026 | 1625.1 1682.3 |
| @ Barstow | Existing Future | 305.29 | 2.3862 | 157.566 173.609 | 1638.0 1709.1 |
| @ Wyoming | Existing Future | 312.9 | 2.4522 | 160.179 178.243 | 1629.2 1702.8 |
| @ Eubank | Existing Future | 202.19 | .5400 | 26.926 29.405 | 619 646 |
| El Camino |  |  |  |  |  |
| @ Holbrook | Existing Future | 202.29 | 0.6499 | 33.040 37.485 | 607.7 652.4 |
| @ Ventura | Existing Future | 202.39 | 0.7183 | 37.077 41.907 | 607.1 673.3 |
| @ Barstow | Existing Future | 203.39 | .9484 .9929 | 48.718 67.123 | 689.4 900.3 |
| @ Wyoming | Existing Future | 204.9 | 1.1603 1.0952 | 58.839 77.271 | 752.0 977.5 |
| La Cueva Middle Tributary |  |  |  |  |  |
| @ Tramway | Existing Future | 103.99 | .5103 | 34.046 35.582 | 729.5 743.9 |
| @ Lowell | Existing Future | 105.19 | .6485 | 42.952 47.268 | 765.1 809.7 |
| @ Browning | Existing Future | 105.29 | .7543 | 48.630 55.829 | 801.8 869.0 |
| La Cueva South Tributary |  |  |  |  |  |
| @ Tramway | Existing Future | 103.49 | .1569 | 11.010 15.782 | 300.9 387.2 |
| @ Lowell | Existing Future | 104.19 | .3394 | 26.809 32.801 | 581.1 781.1 |
| @ Browning | Existing Future | 104.29 | .4198 | 31.160 39.095 | 666.4 908.0 |
| La Cueva - Main |  |  |  |  |  |
| @ Browning | Existing Future | 107.29 | 2.8680 | 196.529 200.690 | 2756.7 2781.0 |
| @ Eubank | Existing Future | 109.99 | 3.6031 | 235.592 254.444 | 2941.6 3040.2 |
| North Domingo Baca - Main |  |  |  |  |  |
| @ Tramway | Existing Future | 902.99 | .8937 | 68.200 72.705 | 1279.9 1284.3 |
| @ Lowell | Existing Future | 906.99 | 1.03193 1.0576 | 80.477 87.829 | 1334.6 1369.4 |
| @ PDN Diversion to NDB Dam | Future | 915.90 | .0893 | 11.825 | 258.2 |
| @ NDB Dam | Existing Future | 912.95 | 1.26093 1.28656 | 96.212 106.800 | 1380.3 1431.6 |
| @ Eubank | Existing Future* | 914.99 | 2.7783 2.7784 | 199.905 232.067 | 157.1 150.8 |
| @ Holbrook | Existing Future | 919.19 | 2.8923 2.8924 | 206.569 240.902 | 203.6 230.7 |
| South Domingo Baca Diversion Channel from North Domingo Baca Arroyo |  |  |  |  |  |
| @ Tramway | Existing Future | 400.79 | 1.1319 | 79.792 83.375 | 1225.8 1250.6 |
| South Domingo Baca - Main |  |  |  |  |  |
| @ Tramway | Existing Future | 400.59 | 3.2942 | 223.979 227.023 | 2519.3 2528.0 |
| @ SDB Dam | Existing Future | 400.99 | 4.7703 4.8606 | 325.739 349.234 | 3297.5 3464.4 |
| @ Eubank | Existing Future | 404.95 | 5.3809 5.3723 | 357.051 387.940 | 636.1 932.3 |
| *Reflects future enlargement of NDB Dam reservoir. |  |  |  |  |  |
| @ Lowell Diversion to SDB Dam | Future | 401.93 | 0.0902 | 7.049 | 185.0 |
| @ PDN Diversion to SDB Dam | Future | 402.92 | 0.1023 | 9.199 | 168.9 |
| North Pino |  |  |  |  |  |
| @ San Rafael and Tramway | Existing Future | 500.94 | .1692 | 13.946 16.055 | 364.0 394.2 |
| Total Q to North Pino Dam | Existing Future | 500.96 | .2433 | 20.053 23.087 | 512.5 561.1 |
| @ San Antonio North Pino Diversion | Existing Future | 502.99 | 0.2373 | 15.474 19.057 | 395.4 472.0 |
| @ Eubank to Quintessence | Existing Future | 511.99 | 0.3055 0.29662 | 17.620 22.072 | 417.5 556.4 |
| Pino |  |  |  |  |  |
| @Tramway | Existing Future | 510.99 | 4.411 | 303.274 309.098 | 4218.1 4244.8 |

| TABLE 4 COMPARISON OF HYDROLOGY RESULTS WITH PREVIOUS STUDIES Bernalillo County Public Works Division Drainage Management Plan for Sandia Heights (South) and North Albuquerque Acres Phase I |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Analysis Point | 100-Year Peak Discharge and Cumulative Basins Area |  |  |  |  |  |
|  | HYD COND | This Study cfs (sq.mi.) | NDB/SDB1 Arroyos cfs (sq.mi.) | Tramway Dr.2 Rep. cfs (sq.mi.) | FEMA 1996 cfs (sq.mi.)3 | Other Dr Rep cfs (sq.mi.) |
| NDB @ Tramway (902.99) | Existing Future | 1279 (0.8937) 1285 (0.8937) | 912 (0.9240) 933 (0.9242) | 1170 (0.9510) | 1251 (0.8937) | 1235 4 ( ) |
| NDB @ Lowell (906.99) | Existing Future | 1379 (1.0319) 1392 (1.0319) | 912 (1.0420) 1396 (1.3771) | NA | 1237 (1.0319) | 1400 4 ( ) |
| SDB @ Tramway (400.59) | Existing Future | 2519 (3.2942) 2528 (3.2942) | 3069 (3.2492) 3069 (3.2492) | 3330 (3.130) | 2540 (3.2942) NA | NA NA |
| SDB Trib @ Tram (400.79) | Existing Future | 1226 (1.1319) 1251 (1.1319) | 1557 (1.1150) 1557 (1.1150) | 1150 (1.280) | 1030 (1.1319) NA | NA NA |
| SDB @ Eubank (404.95) | Existing Future | 624 (5.3649) 855 (5.3376) | 351 (4.880) 1503* (5.360) | NA NA | NA NA | NA NA |
| N. Pino @ San Rafael (500.94) | Existing Future | 364 (0.1692) 394 (0.1692) | NA 270 (0.1760) | NA 270 (0.1760) | 319 (0.1643) |  |
| N. Pino @ San Antonio (502.99) | Existing Future | 395 (0.2403) 472 (0.2403) | NA NA | NA NA | NA NA | NA NA |
| *Assumed SDB basins west of Tramway 34-50% impervious. This DMP assumed 17% impervious. |  |  |  |  |  |  |
| N. Pino @ Eubank (511.99) | Existing Future | 417 (0.3223) 556 (0.29662) | NA NA | NA NA | NA NA | NA NA |
| Pino @ Tramway (510.99) | Existing Future | 4218 (4.411) 4245 (4.411) | NA NA | NA NA | 4290 (4.411) | NA NA |
| El Camino @ Tramway (200.0) | Existing Future | 507 (.3030) 507 (.3030) | NA NA | NA NA | NA NA | 4725 (.3030) 472 (.3030) |
| El Camino @ Eubank (202.19) | Existing Future | 619 (.5400) 646 (.5400) | NA NA | NA NA | NA NA | 6195 (.5400) 646 (.5400) |
| Middle La Cueva @ Tramway (103.99) | Existing Future | 730 (.5103) 744 (.5103) | NA NA | 550 (.5210) 690 (.5210) | NA NA | 7305 (.5103) 744 (.5103) |
| La Cueva Main @ Tramway (102.90) | Existing Future | 2758 (2.6960) 2758 (2.6960) | NA NA | NA NA | NA NA | 27585 (2.6960) 2758 (2.6960) |
| La Cueva Main @ Eubank (109.99) | Existing Future | 2942 (3.6031) 3040 (3.6031) | NA NA | NA NA | NA NA | 29425 (3.6031) 3040 (3.6031) |

| TABLE 5 SUMMARY OF NORTH DOMINGO BACA ARROYO SYSTEM NORTH FORK OF THE NORTH DOMINGO BACA ARROYO |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Reach* | SEDIMENT CAPACITY IN TONS BY FREQUENCY |  |  |  |  |  |  | Average Annual Aggradation (+) Degradation (-) Tons | 100-Year Aggradation (+) Degradation (-) Tons | 30-Year Cumulative Plus 100-Year Tons |
|  | 2-Yr | 5-Yr | 10-Yr | 25-Yr | 50-Yr | 100-Yr | Average Annual |  |  |  |
| Supply A | 18262 | 32781 | 44614 | 64614 | 79356 | 91334 | 22575 | - | - | - |
| 1 | 12387 | 26042 | 37628 | 56836 | 67168 | 74538 | 17572 | +5003 | +16796 | +166873 |
| Additional Supply for Reach 2 Supply AB@ |  |  |  |  |  |  |  |  |  |  |
|  | 123 | 297 | 468 | 800 | 1071 | 1303 | 214 |  |  |  |
| 2 | 6566 | 13411 | 19267 | 30778 | 41025 | 50172 | 9449 | +8337 | +25669 | +275782 |
| Additional Supply for Reach 3 Supply AC@ |  |  |  |  |  |  |  |  |  |  |
|  | 1322 | 2678 | 3867 | 6901 | 9869 | 12719 | 1989 |  |  |  |
| 3 | 19321 | 35319 | 48403 | 69907 | 86045 | 99123 | 24238 | -12801 | -36232 | -420250 |
| Existing Channel with Full Conveyance |  |  |  |  |  |  |  |  |  |  |
| 4 | 4416 | 8801 | 12480 | 18635 | 23494 | 29112 | 6059 | +18179 | +70011 | +615374 |
| Additional Supply for Reach 5 Supply AD@ |  |  |  |  |  |  |  |  |  |  |
|  | 105 | 204 | 292 | 491 | 622 | 731 | 146 |  |  |  |
| 5 | 3112 | 6130 | 9095 | 16870 | 24303 | 30810 | 4700 | +1506 | -967 | +44204 |
| 6 | 4017 | 7870 | 11177 | 20359 | 28989 | 38292 | 5899 | -1199 | -7482 | -43441 |

*Reach locations are shown on Figure 1. (Supply reaches on National Forest Land not shown)

| TABLE 6 SUMMARY OF SOUTH DOMINGO BACA ARROYO SYSTEM |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Reach* | SEDIMENT CAPACITY IN TONS BY FREQUENCY |  |  |  |  |  |  | Average Annual Aggradation (+) Degradation (-) Tons | 100-Year Aggradation (+) Degradation (-) Tons | 30-Year Cumulative Plus 100-Year Tons |
|  | 2-Yr | 5-Yr | 10-Yr | 25-Yr | 50-Yr | 100-Yr | Average Annual |  |  |  |
| Supply | 38124 | 81064 | 121536 | 247420 | 334213 | 400379 | 62101 | - | - | - |
| 1 | 10193 | 26563 | 43863 | 92217 | 130286 | 163645 | 20966 | +41104 | +236734 | 1469868 |
| 2 | 22570 | 50581 | 78745 | 167712 | 245627 | 306602 | 40436 | -19439 | -142957 | -726134 |

*Reach locations are shown on Figure 1. (Supply reaches on National Forest Land not shown)

| TABLE 7 SUMMARY OF EXISTING CONDITIONS EL CAMINO ARROYO |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Reach* | Sediment Transport Capacity in Tons by Frequency |  |  |  |  |  |  | Average Annual Aggradation (+) Degradation (-) Tons | 100-Year Aggradation (+) Degradation (-) Tons | 30-Year Cumulative Plus 100-Year Tons |
|  | 2-Yr | 5-Yr | 10-Yr | 25-Yr | 50-Yr | 100-Yr | Average Annual |  |  |  |
| 1A | 779 | 1515 | 2830 | 4525 | 6283 | 7851 | 1234 | - | - | - |
| 1B | 762 | 1359 | 2273 | 3282 | 4264 | 5110 | 1030 | +204 | +2741 | +8861 |
| 2A | 1005 | 1865 | 3213 | 4770 | 6388 | 7847 | 1436 | -406 | -2737 | -14917 |
| 2B | 970 | 1690 | 2700 | 3766 | 4881 | 5881 | 1254 | +182 | +1966 | +7426 |
| 2C | 1011 | 1810 | 3220 | 5118 | 6990 | 8587 | 1462 | -208 | -2706 | -8946 |
| 3A | 1092 | 1953 | 3405 | 5115 | 6522 | 7656 | 1517 | -55 | +931 | -719 |
| 3B | 1130 | 2081 | 3677 | 5763 | 7499 | 8769 | 1610 | -93 | -1113 | -3903 |
| 4A | 1028 | 1872 | 2918 | 4045 | 5216 | 6401 | 1377 | +233 | +2368 | +9358 |
| 4B | 975 | 1762 | 3069 | 4515 | 5864 | 7071 | 1363 | +14 | -670 | -250 |
| 5A | 1488 | 2423 | 3800 | 5234 | 6586 | 7724 | 1808 | -445 | -653 | -14003 |
| 5B | 1775 | 2922 | 4449 | 6110 | 7568 | 8761 | 2140 | -332 | -1037 | -10997 |
| 5C | 1683 | 2813 | 4389 | 6065 | 7720 | 9224 | 2084 | +56 | -463 | +1217 |
| 6A | 3454 | 6287 | 11234 | 14439 | 17528 | 20279 | 4682 | -2598 | -11055 | -88995 |
| 6B | 1684 | 2961 | 4796 | 6692 | 8398 | 9794 | 2190 | +2492 | +10485 | +85245 |
| 6C | 2224 | 4123 | 6944 | 10249 | 13496 | 16350 | 3127 | -937 | -6556 | -34666 |

*Reach locations are shown on Figures 2 and 3

(From AMAFCA La Cueva, El Camino and North Camino Arroyos Facilities Plan, 1998)

| TABLE 8 SUMMARY OF EXISTING CONDITIONS LA CUEVA ARROYO |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Reach* | Sediment Transport Capacity in Tons by Frequency |  |  |  |  |  |  | Average Annual Aggradation (+) Degradation (-) Tons | 100-Year Aggradation (+) Degradation (-) Tons | 30-Year Cumulative Plus 100-Year Ton |
|  | 2-Yr | 5-Yr | 10-Yr | 25-Yr | 50-Yr | 100-Yr | Average Annual |  |  |  |
| 1A | 9679 | 19751 | 36471 | 57934 | 80862 | 101926 | 15599 | - | - | - |
| 1B | 11171 | 22942 | 45824 | 74322 | 106044 | 139271 | 19375 | -3776 | -37345 | -150625 |
| 1C | 7699 | 14395 | 26721 | 42104 | 58562 | 74455 | 11473 | +7902 | +64816 | +301876 |
| 2A | 8402 | 15999 | 28533 | 42679 | 56436 | 69690 | 12442 | -969 | +4765 | -24305 |
| 2B | 8098 | 16098 | 30027 | 47267 | 66135 | 83010 | 12989 | -547 | -13320 | -29730 |
| 3A | 8850 | 15626 | 25786 | 37222 | 48940 | 60423 | 11857 | +1132 | +22587 | +23719 |
| 3B | 7617 | 13329 | 23150 | 34453 | 45437 | 54992 | 10449 | +1408 | +5431 | +47671 |
| 4A | 7730 | 14986 | 27889 | 43606 | 59745 | 73322 | 12061 | -1612 | -18330 | -66690 |
| 4B | 14578 | 29226 | 53690 | 84653 | 119144 | 151733 | 23421 | -11360 | -78411 | -419211 |
| 4C | 11233 | 21689 | 35445 | 49832 | 64502 | 75893 | 15766 | +7655 | +75840 | +305490 |
| 5 (Nor Este Channel) |  |  |  |  |  |  |  |  |  |  |
| 6A | 14481 | 25850 | 42897 | 61000 | 77897 | 93882 | 19411 | -3645 | -17989 | -127329 |
| 6B | 13801 | 21251 | 33843 | 48297 | 62099 | 73112 | 16438 | +2973 | +20770 | +109960 |

*Reach locations are shown on Figures 2 and 3

(From AMAFCA La Cueva, El Camino and North Camino Arroyos Facilities Plan, 1998)

| TABLE 9 SUMMARY OF EXISTING CONDITIONS LA CUEVA TRIBUTARY ARROYO |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Reach* | Sediment Transport Capacity in Tons by Frequency |  |  |  |  |  |  | Average Annual Aggradation (+) Degradation (-) Tons | 100-Year Aggradation (+) Degradation (-) Tons | 30-Year Cumulative Plus 100-Year Tons |
|  | 2-Yr | 5-Yr | 10-Yr | 25-Yr | 50-Yr | 100-Yr | Average Annual |  |  |  |
| 1A | 1431 | 2603 | 4706 | 6986 | 9305 | 11511 | 2061 | - | - | - |
| 1B | 1146 | 2068 | 3277 | 4332 | 5372 | 6229 | 1481 | +580 | +5282 | +22682 |
| 1C | 1420 | 2437 | 3792 | 5210 | 6713 | 8248 | 1792 | -311 | -2019 | -11349 |
| 1D | 875 | 1644 | 3048 | 4391 | 5350 | 6157 | 1271 | +521 | +2091 | +17721 |
| 1E | 1199 | 2036 | 3546 | 5589 | 7508 | 9189 | 1644 | -373 | -3032 | -14222 |
| 1F | 997 | 1794 | 3121 | 4765 | 6564 | 8143 | 1418 | +226 | +1046 | +7826 |
| 1G | 986 | 1933 | 3856 | 6396 | 8783 | 10878 | 1640 | -222 | -2735 | -9395 |
| 1H | 1164 | 1899 | 2968 | 4139 | 5337 | 6363 | 1424 | +216 | +4515 | +10995 |

*Reach locations are shown on Figures 2 and 3`

(From AMAFCA La Cueva, El Camino and North Camino Arroyos Facilities Plan, 1998)

APPENDIX

TABLE A-1	NORTH CAMINO EXISTING CONDITIONS	Appendix - 1

TABLE A-2	NORTH CAMINO FUTURE CONDITIONS	Appendix - 2

TABLE A-3	EL CAMINO EXISTING CONDITIONS	Appendix - 3

TABLE A-4	EL CAMINO FUTURE CONDITIONS	Appendix - 4

TABLE A-5	LA CUEVA ARROYO EXISTING CONDITIONS	Appendix - 5

TABLE A-6	LA CUEVA ARROYO FUTURE CONDITIONS	Appendix - 6

TABLE A-7	NORTH DOMINGO BACA EXISTING CONDITIONS	Appendix - 7

TABLE A-8	NORTH DOMINGO BACA FUTURE CONDITIONS	Appendix - 8

TABLE A-9	SOUTH DOMINGO BACA EXISTING CONDITIONS	Appendix - 9

TABLE A-10	SOUTH DOMINGO BACA FUTURE CONDITIONS	Appendix - 10

TABLE A-11	PINO ARROYO EXISTING CONDITIONS	Appendix - 11

TABLE A-12	PINO ARROYO FUTURE CONDITIONS	Appendix - 12

TABLE B-1	NORTH CAMINO ARROYO SUB-BASIN CHARACTERISTICS	Appendix - 13

TABLE B-2	EL CAMINO ARROYO SUB-BASIN CHARACTERISTICS	Appendix - 15

TABLE B-3	LA CUEVA ARROYO SUB-BASIN CHARACTERISTICS	Appendix - 16

TABLE B-4	LA CUEVA DIVERSION TO NDB DAM SUB-BASIN CHARACTERISTICS	Appendix - 19

TABLE B-5	NORTH DOMINGO BACA SUB-BASIN CHARACTERISTICS	Appendix - 20

TABLE B-6	SOUTH DOMINGO BACA SUB-BASIN CHARACTERISTICS	Appendix - 25

TABLE B-7	PINO ARROYO BASIN CHARACTERISTICS	Appendix - 27

TABLE 5-1	NORTH CAMINO ARROYO - WORST CASE	Appendix - 29

TABLE 5-2	EL CAMINO ARROYO - WORST CASE	Appendix - 30

TABLE 5-3	LA CUEVA ARROYO - WORST CASE	Appendix - 31

APPENDIX A	SEDIMENT BULKING FACTORS	A-1 thru A-13

APPENDIX B	HYDROLOGY SUMMARY FILES	B-1 thru B-82

| TABLE A-1 NORTH CAMINO EXISTING CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 300 | .8840 | 34.987 | 509.61 | 68.141 | 1001.07 |
| 301 | .8520 | 24.387 | 374.23 | 54.493 | 862.46 |
| 302.0 | .1576 | 3.014 | 98.52 | 7.701 | 250.67 |
| 303.0 | .1706 | 5.250 | 138.60 | 10.99 | 288.51 |
| 304.0 | .0840 | 2.306 | 63.70 | 4.992 | 138.67 |
| 305.1 | .1691 | 4.665 | 106.64 | 10.106 | 237.45 |
| 305.2 | .1529 | 2.543 | 52.98 | 6.756 | 146.57 |
| 306.0 | .1051 | 3.072 | 93.29 | 6.528 | 193.49 |
| 307.0 | .0663 | 1.296 | 40.21 | 3.196 | 98.65 |
| 308.0 | .0535 | .856 | 27.40 | 2.296 | 72.95 |
| 309.0 | .0796 | 1.276 | 35.55 | 3.439 | 96.16 |
| 310.0 | .1033 | 1.609 | 35.86 | 4.361 | 100.32 |
| 311.0 | .1528 | 2.264 | 50.41 | 6.278 | 147.74 |
| 312.0 | .0660 | .995 | 24.85 | 2.761 | 70.11 |
| 313.0 | .2092 | 4.628 | 107.68 | 10.599 | 266.92 |

| TABLE A-2 NORTH CAMINO FUTURE CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 300 | .8840 | 34.987 | 509.61 | 68.141 | 1001.07 |
| 301 | .8520 | 24.387 | 374.23 | 54.493 | 862.46 |
| 302.0 | .1576 | 7.816 | 213.57 | 14.313 | 377.68 |
| 303.0 | .1706 | 6.966 | 184.83 | 13.452 | 340.12 |
| 304.0 | .0840 | 3.106 | 92.34 | 6.183 | 171.88 |
| 305.1 | .1691 | 6.681 | 159.69 | 13.014 | 302.07 |
| 305.2 | .1529 | 5.912 | 125.07 | 11.517 | 236.60 |
| 306.0 | .1051 | 3.751 | 117.15 | 7.537 | 220.14 |
| 307.0 | .0582 | 2.165 | 66.17 | 4.267 | 121.68 |
| 308.0 | .0535 | 1.845 | 58.24 | 3.706 | 108.45 |
| 309.0 | .0796 | 2.731 | 75.82 | 5.522 | 143.06 |
| 310.0 | .1033 | 3.483 | 80.12 | 7.037 | 154.99 |
| 311.0 | .1528 | 5.107 | 116.78 | 10.352 | 230.86 |
| 312.0 | .0660 | 2.401 | 61.07 | 4.765 | 114.08 |
| 313.0 | .2092 | 11.376 | 250.33 | 19.847 | 437.50 |

| TABLE A-3 EL CAMINO EXISTING CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 200.0 | .3030 | 5.927 | 197.06 | 15.384 | 487.60 |
| 201.0 | .1339 | 2.525 | 81.06 | 6.497 | 207.70 |
| 202.1 | .1031 | 2.226 | 68.80 | 5.334 | 164.12 |
| 202.2 | .1099 | 2.692 | 79.79 | 6.162 | 180.49 |
| 203.1 | .1258 | 2.799 | 81.09 | 6.547 | 192.92 |
| 203.2 | .0485 | 1.043 | 31.32 | 2.466 | 74.17 |
| 203.3 | .0558 | 1.152 | 34.52 | 2.757 | 83.29 |
| 204.0 | .2119 | 4.166 | 89.98 | 10.122 | 235.18 |
| 204.1 | .1484 | 2.914 | 71.63 | 7.086 | 181.03 |
| 204.2 | .1333 | 2.508 | 71.82 | 6.169 | 185.49 |
| 205.0 | .0459 | 3.150 | 77.96 | 5.191 | 123.43 |

| TABLE A-4 EL CAMINO FUTURE CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 200.0 | .3030 | 5.927 | 197.06 | 15.384 | 487.60 |
| 201.0 | .1339 | 2.525 | 81.06 | 6.497 | 207.70 |
| 202.1 | .1031 | 3.961 | 121.81 | 7.813 | 223.44 |
| 202.2 | .1099 | 4.133 | 122.75 | 8.219 | 229.39 |
| 203.1 | .1258 | 4.591 | 139.73 | 9.143 | 257.46 |
| 203.2 | .0395 | 1.826 | 52.27 | 3.366 | 90.47 |
| 203.3 | .1259 | 7.465 | 193.61 | 12.845 | 320.68 |
| 204.0 | .1023 | 5.899 | 153.51 | 10.191 | 255.42 |
| 204.1 | .1288 | 5.455 | 131.42 | 10.225 | 239.10 |
| 204.2 | .0688 | 4.812 | 118.86 | 7.907 | 187.81 |
| 204.3 | .1112 | 3.694 | 117.18 | 7.507 | 224.48 |
| 204.4 | .0297 | .987 | 30.96 | 2.006 | 58.84 |
| 205.0 | .0543 | 3.726 | 92.31 | 6.140 | 146.01 |

| TABLE A-5 LA CUEVA ARROYO EXISTING CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 100.0 | 1.2140 | 45.333 | 598.79 | 87.881 | 1201.70 |
| 101.0 | .6070 | 23.352 | 498.34 | 45.841 | 953.84 |
| 102.0 | .8750 | 23.497 | 439.84 | 54.313 | 1033.60 |
| 102.1 | .0930 | 1.592 | 59.2 | 4.405 | 147.55 |
| 103.0 | .2120 | 6.637 | 184.92 | 14.423 | 365.76 |
| 103.1 | .2299 | 6.117 | 149.93 | 14.085 | 326.84 |
| 103.2 | .0616 | 2.326 | 68.41 | 4.677 | 127.12 |
| 103.4 | .0953 | 2.969 | 92.00 | 6.348 | 184.28 |
| 103.5 | .0625 | 3.605 | 94.68 | 6.408 | 157.65 |
| 103.6 | .0684 | 2.959 | 72.88 | 5.606 | 137.46 |
| 104.1 | .1200 | 5.006 | 132.31 | 9.569 | 251.45 |
| 104.2 | .0804 | 1.825 | 48.56 | 4.326 | 114.02 |
| 105.1 | .1382 | 4.265 | 123.03 | 9.014 | 260.36 |
| 105.2 | .1058 | 2.369 | 73.17 | 5.646 | 172.94 |
| 106.0 | .0436 | 1.337 | 35.83 | 2.829 | 77.44 |
| 106.1 | .1116 | 2.796 | 81.48 | 6.465 | 187.37 |
| 107.1 | .1808 | 3.422 | 105.83 | 8.922 | 208.74 |
| 107.2 | .1720 | 3.958 | 95.27 | 9.43 | 237.40 |
| 108.0 | .2055 | 4.801 | 127.09 | 11.246 | 311.04 |
| 109.0 | .1006 | 2.314 | 69.18 | 5.441 | 164.16 |
| 110.0 | .1634 | 3.502 | 79.91 | 8.385 | 202.35 |
| 111.0 | .0674 | 1.044 | 31.33 | 2.940 | 88.80 |
| 111.1 | .1194 | 2.453 | 73.86 | 5.962 | 184.36 |

| TABLE A-6 LA CUEVA ARROYO FUTURE CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 100.0 | 1.214 | 45.333 | 598.79 | 87.881 | 1201.70 |
| 101.0 | .6070 | 23.352 | 498.34 | 45.841 | 953.84 |
| 102.0 | .8750 | 20.905 | 392.78 | 54.313 | 1033.60 |
| 102.1 | .0930 | 1.622 | 60.53 | 4.457 | 149.17 |
| 103.0 | .2120 | 6.637 | 184.92 | 14.423 | 365.76 |
| 103.1 | .2299 | 6.117 | 149.93 | 14.085 | 326.84 |
| 103.2 | .0616 | 3.311 | 87.21 | 5.997 | 147.27 |
| 103.4 | .0953 | 5.497 | 142.27 | 9.771 | 239.06 |
| 103.5 | .0625 | 3.605 | 94.68 | 6.408 | 157.65 |
| 103.6 | .0684 | 4.042 | 101.97 | 7.142 | 169.48 |
| 104.1 | .1367 | 7.422 | 203.74 | 13.378 | 344.63 |
| 104.2 | .0471 | 1.877 | 50.46 | 3.688 | 91.02 |
| 105.1 | .1305 | 6.150 | 173.78 | 11.502 | 308.49 |
| 105.2 | .1045 | 4.123 | 125.95 | 8.123 | 230.30 |
| 106.0 | .0436 | 1.732 | 52.14 | 3.448 | 95.85 |
| 106.1 | .1116 | 4.342 | 126.34 | 8.685 | 238.47 |
| 107.1 | .1808 | 7.151 | 208.11 | 14.303 | 399.38 |
| 107.2 | .1720 | 7.115 | 168.43 | 13.591 | 325.87 |
| 108.0 | .2055 | 7.759 | 207.96 | 15.573 | 404.63 |
| 109.0 | .1006 | 3.750 | 114.66 | 7.552 | 216.30 |
| 110.0 | .1634 | 5.774 | 138.24 | 11.738 | 275.61 |
| 111.0 | .0533 | 1.823 | 57.02 | 3.739 | 108.83 |
| 111.1 | .0500 | 2.054 | 57.41 | 7.699 | 195.97 |
| 111.3 | .0420 | 2.498 | 64.56 | 4.348 | 107.90 |
| 111.4 | .0141 | .482 | 15.09 | .989 | 28.80 |

| TABLE A-7 NORTH DOMINGO BACA EXISTING CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 900 | .4410 | 17.063 | 328.97 | 33.763 | 640.16 |
| 901 | .1180 | 4.570 | 165.92 | 9.218 | 281.25 |
| 902.1 | .0887 | 2.878 | 56.10 | 6.141 | 116.14 |
| 902.2 | .1220 | 3.958 | 77.32 | 8.447 | 161.86 |
| 902.3 | .0730 | 3.816 | 98.65 | 6.993 | 173.70 |
| 903.0 | .0641 | 3.591 | 94.20 | 6.488 | 158.75 |
| 904.0 | .0413 | 2.315 | 60.83 | 4.183 | 102.46 |
| 905.0 | .0092 | .516 | 13.56 | .932 | 22.84 |
| 906.0 | .0237 | 1.391 | 34.64 | 2.476 | 58.73 |
| 910.21 | .0137 | .279 | 9.05 | .704 | 21.87 |
| 910.31 | .1563 | 5.839 | 164.33 | 11.680 | 326.81 |
| 911.0 | .0580 | 1.620 | 37.27 | 3.530 | 83.52 |
| 912.11 | .0590 | 1.374 | 39.99 | 3.224 | 94.77 |
| 912.21 | .1960 | 5.094 | 141.21 | 11.549 | 321.78 |
| 913.1 | .0360 | .634 | 19.96 | 1.688 | 52.68 |
| 913.2 | .0170 | .387 | 11.75 | .919 | 27.83 |
| 914.2 | .0350 | 1.003 | 32.46 | 2.212 | 66.39 |
| 915.1 | .0343 | .760 | 22.02 | 1.807 | 53.31 |
| 915.2 | .0370 | .820 | 23.76 | 1.949 | 57.51 |
| 917.0 | .0406 | .693 | 21.97 | 1.863 | 58.42 |
| 918.0 | .1140 | 2.545 | 45.61 | 6.050 | 113.10 |
| 919.1 | .0790 | 1.888 | 65.91 | 4.487 | 142.38 |
| 919.2 | .0610 | 1.279 | 43.32 | 3.178 | 100.60 |
| 920.0 | .0431 | .890 | 23.68 | 2.152 | 58.97 |
| 920.1 | .0202 | .448 | 13.52 | 1.058 | 31.87 |
| 921.1 | .0292 | .603 | 17.60 | 1.458 | 43.61 |
| 921.2 | .0874 | 1.827 | 54.31 | 4.415 | 134.09 |
| 921.3 | .0284 | .587 | 17.12 | 1.418 | 42.42 |
| 922.0 | .0210 | .665 | 16.25 | 1.398 | 32.59 |

| TABLE A-8 NORTH DOMINGO BACA FUTURE CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 900 | .4410 | 17.063 | 328.97 | 33.763 | 640.16 |
| 901 | .1180 | 4.570 | 165.92 | 9.218 | 281.25 |
| 902.1 | .0887 | 4.340 | 72.14 | 8.032 | 134.65 |
| 902.2 | .1220 | 5.969 | 99.04 | 11.047 | 186.8 |
| 902.3 | .0730 | 3.939 | 95.14 | 7.105 | 169.92 |
| 903.0 | .0897 | 5.028 | 131.56 | 9.084 | 223.26 |
| 904.0 | .0413 | 2.315 | 60.83 | 4.183 | 102.46 |
| 905.0 | .0092 | .516 | 13.56 | .932 | 22.84 |
| 906.0 | .0237 | 1.642 | 38.91 | 2.816 | 63.36 |
| 910.21 | .0137 | .537 | 16.31 | 1.073 | 30.01 |
| 910.31 | .1563 | 7.192 | 201.64 | 13.622 | 368.32 |
| 911.0 | .0580 | 2.248 | 57.52 | 4.444 | 106.44 |
| 912.11 | .0590 | 2.254 | 67.97 | 4.520 | 126.55 |
| 912.21 | .1960 | 7.489 | 201.16 | 15.016 | 391.52 |
| 913.1 | .0360 | 1.343 | 40.82 | 2.701 | 76.37 |
| 913.2 | .0170 | .792 | 22.16 | 1.479 | 39.50 |
| 914.2 | .0350 | 1.631 | 44.99 | 3.045 | 80.30 |
| 915.2 | .0370 | 3.047 | 68.99 | 4.819 | 107.40 |
| 917.0 | .0406 | 1.325 | 36.32 | 2.985 | 85.47 |
| 918.0 | .1140 | 4.131 | 79.28 | 8.381 | 156.75 |
| 919.1 | .0790 | 2.863 | 88.16 | 5.808 | 167.03 |
| 919.2 | .0427 | 1.547 | 47.67 | 3.139 | 89.89 |
| 920.0 | .0300 | 1.057 | 32.58 | 2.142 | 61.70 |
| 920.1 | .0202 | .712 | 21.94 | 1.443 | 41.55 |
| 921.1 | .0292 | 1.029 | 31.71 | 2.085 | 60.06 |
| 921.2 | .0874 | 5.935 | 145.56 | 9.939 | 237.09 |
| 921.3 | .0140 | .493 | 15.21 | 1.000 | 28.81 |
| 922.0 | .0210 | .713 | 17.26 | 1.462 | 33.77 |
| 920.2 | .0085 | .300 | 9.24 | .607 | 17.50 |
| 921.4 | .0144 | .508 | 15.64 | 1.028 | 29.63 |

| TABLE A-9 SOUTH DOMINGO BACA EXISTING CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 400.00 | 2.069 | 73.559 | 854.14 | 145.723 | 1792.15 |
| 400.10 | .2482 | 6.636 | 209.84 | 14.947 | 477.22 |
| 400.13 | .0139 | .955 | 22.93 | 1.627 | 37.55 |
| 400.30 | .2550 | 9.922 | 348.72 | 19.788 | 620.56 |
| 400.51 | .1688 | 7.463 | 195.83 | 14.234 | 375.02 |
| 400.52 | .0734 | 3.245 | 77.40 | 6.190 | 146.12 |
| 400.53 | .9830 | 24.788 | 245.71 | 58.278 | 644.20 |
| 400.61 | .0930 | 4.112 | 107.60 | 7.842 | 202.27 |
| 400.62 | .0980 | 4.333 | 113.41 | 8.264 | 213.43 |
| 400.65 | .5919 | 16.022 | 193.67 | 36.701 | 488.03 |
| 400.66 | .0940 | 4.156 | 104.95 | 7.927 | 198.10 |
| 401.20 | .0850 | 1.497 | 47.39 | 3.955 | 124.87 |
| 401.31 | .0538 | 1.332 | 40.02 | 3.072 | 90.87 |
| 401.32 | .0520 | 1.242 | 36.62 | 2.893 | 85.27 |
| 401.33 | .0430 | .790 | 24.88 | 2.066 | 64.19 |
| 401.40 | .0432 | 1.077 | 32.04 | 2.481 | 72.94 |
| 401.50 | 0.045 | 1.083 | 31.62 | 2.519 | 73.79 |
| 402.14 | .0821 | 2.836 | 64.91 | 5.772 | 134.07 |
| 403.10 | .0795 | 1.530 | 49.19 | 3.928 | 123.44 |
| 403.20 | .1103 | 2.446 | 62.84 | 5.802 | 154.79 |
| 404.30 | .0463 | .851 | 26.79 | 2.224 | 69.12 |
| 404.20 | .0525 | .925 | 29.10 | 2.443 | 76.30 |

| TABLE A-10 SOUTH DOMINGO BACA FUTURE CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 400.00 | 2.069 | 73.559 | 854.14 | 145.723 | 1792.15 |
| 400.10 | .2420 | 12.248 | 329.21 | 22.579 | 601.75 |
| 400.13 | .0139 | .955 | 22.93 | 1.627 | 37.55 |
| 400.30 | .2550 | 9.922 | 348.72 | 19.788 | 620.56 |
| 400.51 | .1688 | 9.058 | 220.94 | 16.356 | 402.59 |
| 400.52 | .0734 | 3.939 | 88.50 | 7.112 | 158.7 |
| 400.53 | .9830 | 24.788 | 245.71 | 58.278 | 644.20 |
| 400.61 | .0930 | 4.991 | 120.24 | 9.011 | 215.52 |
| 400.62 | .0980 | 5.259 | 128.39 | 9.496 | 230.10 |
| 400.65 | .5919 | 16.022 | 193.67 | 36.701 | 488.03 |
| 400.66 | .0940 | 5.044 | 119.29 | 9.108 | 214.19 |
| 401.20 | .0850 | 3.172 | 96.33 | 6.345 | 180.40 |
| 401.31 | .0518 | 1.979 | 59.68 | 3.969 | 111.11 |
| 401.32 | .0520 | 1.987 | 59.91 | 3.984 | 111.54 |
| 401.33 | .0430 | 1.643 | 49.54 | 3.294 | 92.24 |
| 401.40 | .0452 | 1.817 | 54.36 | 3.533 | 98.36 |
| 401.50 | 0.045 | 1.809 | 54.12 | 3.517 | 97.92 |
| 402.14 | .0884 | 4.139 | 90.65 | 7.582 | 168.01 |
| 403.10 | .0673 | 2.571 | 77.53 | 5.156 | 144.54 |
| 403.20 | .0796 | 2.959 | 79.67 | 5.942 | 150.24 |
| 403.3 | .0155 | .576 | 17.49 | 1.157 | 32.72 |
| 404.20 | .0525 | 1.951 | 59.21 | 3.919 | 110.77 |
| 404.30 | .0463 | 1.769 | 53.34 | 3.547 | 99.31 |
| 408.1 | .0098 | .364 | 11.06 | .732 | 20.69 |
| 507.0 | .0089 | .322 | 9.82 | .650 | 18.50 |

| TABLE A-11 PINO ARROYO EXISTING CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 500.0 | .0635 | 2.735 | 71.54 | 5.234 | 134.41 |
| 500.1 | .0549 | 2.365 | 57.39 | 4.525 | 108.56 |
| 500.2 | .0508 | 2.188 | 57.23 | 4.187 | 107.50 |
| 500.3 | .0532 | 2.292 | 52.71 | 4.385 | 99.55 |
| 500.4 | .0209 | .900 | 23.55 | 1.723 | 44.24 |
| 501.0 | .0139 | .371 | 11.52 | 0.833 | 24.75 |
| 501.1 | .0392 | 1.045 | 32.43 | 2.345 | 69.66 |
| 501.2 | .0501 | 1.244 | 38.59 | 2.840 | 85.46 |
| 502.0 | .0660 | 1.760 | 54.62 | 3.948 | 117.44 |
| 502.1 | .0750 | 2.000 | 62.15 | 4.487 | 133.93 |
| 502.2 | .0339 | .904 | 24.01 | 2.028 | 52.21 |
| 502.3 | .0395 | 1.053 | 32.68 | 2.363 | 70.20 |
| 503.0 | .0561 | 1.496 | 45.82 | 3.356 | 98.61 |
| 503.1 | .0220 | .587 | 17.16 | 1.316 | 37.19 |
| 503.2 | .0494 | 1.226 | 38.05 | 2.800 | 84.27 |
| 504.0 | .0372 | .923 | 28.66 | 2.109 | 63.46 |
| 505.0 | .0287 | .712 | 22.11 | 1.627 | 48.96 |
| 506.0 | .0484 | 1.201 | 25.65 | 2.744 | 58.52 |
| 508.0 | .0259 | 1.696 | 41.79 | 2.903 | 68.75 |
| 509.0 | .0259 | 1.626 | 40.32 | 2.793 | 66.74 |
| 510.0 | 3.178 | 112.5 | 1562 | 228.7 | 3292.8 |
| 510.1 | .464 | 16.42 | 447.72 | 33.40 | 869.97 |
| 510.2 | .270 | 4.494 | 170.53 | 12.18 | 448.49 |
| 510.3 | .278 | 6.322 | 209.94 | 15.17 | 513.58 |
| 510.4 | .221 | 7.391 | 209.90 | 15.32 | 447.07 |

| TABLE A-12 PINO ARROYO FUTURE CONDITIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub basin | Area (sq mi) | 10-Yr Vol (ac-ft) | 10-Yr Qp (cfs) | 100-Yr Vol (ac-ft) | 100-yr Qp (cfs) |
| 500.0 | .0635 | 3.327 | 81.38 | 6.026 | 145.38 |
| 500.1 | .0549 | 2.877 | 65.77 | 5.210 | 118.02 |
| 500.2 | .0508 | 2.662 | 65.11 | 4.821 | 116.28 |
| 500.3 | .0532 | 2.787 | 60.29 | 5.048 | 108.06 |
| 500.4 | .0209 | 1.095 | 26.79 | 1.983 | 47.85 |
| 501.0 | .0139 | 0.534 | 16.22 | 1.067 | 29.99 |
| 501.1 | .0392 | 1.503 | 45.66 | 3.006 | 84.43 |
| 501.2 | .0501 | 1.815 | 55.26 | 3.661 | 104.03 |
| 502.0 | .0660 | 2.531 | 76.87 | 5.061 | 142.27 |
| 502.1 | .0750 | 2.876 | 87.34 | 5.751 | 162.06 |
| 502.2 | .0339 | 1.300 | 34.32 | 2.599 | 63.93 |
| 502.3 | .0395 | 1.515 | 46.01 | 3.029 | 85.08 |
| 503.0 | .0561 | 2.151 | 64.65 | 4.302 | 120.82 |
| 503.1 | .0220 | .844 | 24.37 | 1.687 | 45.41 |
| 503.2 | .0494 | 1.790 | 54.49 | 3.610 | 102.58 |
| 504.0 | .0372 | 1.348 | 41.03 | 2.718 | 77.25 |
| 505.0 | .0287 | 1.040 | 31.66 | 2.097 | 59.60 |
| 506.0 | .0484 | 1.754 | 38.27 | 3.537 | 73.61 |
| 508.0 | .0259 | 1.696 | 41.79 | 2.903 | 68.75 |
| 509.0 | .0259 | 1.626 | 40.32 | 2.793 | 66.74 |
| 510.0 | 3.178 | 112.5 | 1592.0 | 228.7 | 3292.8 |
| 510.1 | .464 | 16.42 | 447.72 | 33.40 | 869.97 |
| 510.2 | .270 | 4.494 | 170.53 | 12.18 | 448.49 |
| 510.3 | .278 | 6.322 | 209.94 | 15.17 | 513.58 |
| 510.4 | .221 | 11.63 | 283.91 | 21.15 | 530.73 |

| TABLE B-1 NORTH CAMINO ARROYO SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 300 | Existing Future | .8840 .8840 | 0 0 | 0 0 | 100 100 | 0 0 | .432 .432 |
| 301 | Existing Future | .8520 .8520 | 10 10 | 50 50 | 40 40 | 0 0 | .402 .402 |
| 302 | Existing Future | .1576 .1576 | 90 20 | 0 20 | 5 30 | 5 30 | .133 .133 |
| 303 | Existing Future | .1706 .1706 | 60 20 | 0 20 | 25 40 | 15 20 | .16 .16 |
| 304 | Existing Future | .0840 .0840 | 70 22 | 5 23 | 10 38 | 15 17 | .14 .14 |
| 305.1 | Existing Future | .1691 .1691 | 70 20 | 0 20 | 15 40 | 15 20 | .19 .19 |
| 305.2 | Existing Future | .1529 .1529 | 90 20 | 0 20 | 5 40 | 5 20 | .23 .23 |
| 306 | Existing Future | .1051 .1051 | 50 22 | 15 23 | 20 38 | 15 17 | .133 .133 |
| 307 | Existing Future | .0663 .0582 | 78 20 | 3 22 | 11 38 | 8 20 | .133 .133 |
| 308 | Existing Future | .0535 .0535 | 88 22 | 0 23 | 7 38 | 5 17 | .133 .133 |
| 309 | Existing Future | .0796 .0796 | 87 22 | 0 23 | 8 38 | 5 17 | .16 .16 |
| 310 | Existing Future | .1033 .1033 | 87 22 | 0 23 | 8 38 | 5 17 | .21 .21 |
| 311 | Existing Future | .1528 .1528 | 90 22 | 0 23 | 5 38 | 5 17 | .21 .21 |
| 312 | Existing Future | .0660 .0660 | 90 20 | 0 20 | 5 40 | 5 20 | .18 .18 |
| 313 | Existing Future | .2092 .2092 | 78 9 | 0 21 | 7 21 | 15 49 | .18 .18 |
| 314 | Existing Future | .0960 .0960 | 87 0 | 0 20 | 5 30 | 8 50 | .133 .133 |
| TABLE B-1 (cont.) NORTH CAMINO ARROYO BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 315 | Existing Future | .0426 .0426 | 92 0 | 0 20 | 3 30 | 5 50 | .133 .133 |
| 401 | Existing Future | .0556 .0556 | 0 0 | 0 20 | 100 30 | 0 50 | .133 .133 |
| 402 | Existing Future | .2918 .2918 | 0 0 | 0 20 | 90 30 | 10 50 | .17 .17 |

| TABLE B-2 EL CAMINO ARROYO SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment % |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 201 | Existing Future | .1339 .1339 | 95 95 | 0 0 | 0 0 | 5 5 | .133 .133 |
| 200 | Existing Future | .3030 .3030 | 65 65 | 20 20 | 15 15 | 0 0 | .167 .167 |
| 202.1 | Existing Future | .1031 .1031 | 84 22 | 0 23 | 8 38 | 8 17 | .133 .133 |
| 202.2 | Existing Future | .1099 .1099 | 70 22 | 5 23 | 15 38 | 10 17 | .14 .14 |
| 202.3 | Existing Future | .0684 .0518 | 60 11 | 10 26 | 15 33 | 15 30 | .133 .133 |
| 203.1 | Existing Future | .1258 .1258 | 80 22 | 0 23 | 10 38 | 10 17 | .14 .14 |
| 203.2 | Existing Future | .0485 .0394 | 80 11 | 0 26 | 10 33 | 10 30 | .133 .133 |
| 203.3 | Existing Future | .0558 .1259 | 80 20 | 0 20 | 10 34 | 10 26 | .133 .133 |
| 204 | Existing Future | .2119 .0773 | 80 20 | 0 20 | 10 34 | 10 26 | .21 .133 |
| 204.2 | Existing Future | .1333 .0687 | 80 8 | 0 22 | 10 25 | 10 45 | .14 .14 |
| 204.1 | Existing Future | .1484 .1288 | 80 17 | 0 22 | 10 31 | 10 30 | .18 .18 |
| 204.3 | Future | .0870 | 10 | 15 | 30 | 45 | .133 |
| 204.4 | Future | .0546 | 21 | 21 | 36 | 22 | .133 |
| 205 | Existing Future | .0459 .0543 | 10 0 | 0 10 | 20 20 | 70 70 | .133 .133 |
| 206.1 | Existing Future | .1221 .1221 | 75 0 | 5 20 | 10 30 | 10 50 | .150 .150 |
| 206.2 | Existing Future | .0561 .0561 | 75 0 | 5 20 | 10 30 | 10 50 | .133 .133 |
| 206.3 | Existing Future | .0480 .0480 | 0 0 | 7 7 | 7 7 | 86 86 | .133 .133 |
| 206.4 | Existing Future | .0327 .0327 | 40 0 | 25 20 | 5 30 | 30 50 | .133 .133 |

| TABLE B-3 LA CUEVA ARROYO SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 100 | Existing Future | 1.2140 1.2140 | 0 0 | 0 0 | 100 100 | 0 0 | .475 .475 |
| 101 | Existing Future | .6070 .6070 | 0 0 | 0 0 | 100 100 | 0 0 | .267 .267 |
| 102 | Existing Future | .8750 .8750 | 20 20 | 40 40 | 40 40 | 0 0 | .320 .320 |
| 102.1 | Existing Future | .0930 .0930 | 82 80 | 0 0 | 18 20 | 0 0 | .133 .133 |
| 106 | Existing Future | .0436 .0436 | 78 22 | 0 23 | 5 38 | 17 17 | .133 .133 |
| 106.1 | Existing Future | .1116 .1116 | 75 22 | 0 23 | 15 38 | 10 17 | .14 .14 |
| 107.1 | Existing Future | .1808 .1808 | 92 22 | 0 23 | 3 38 | 5 17 | .14 .14 |
| 107.2 | Existing Future | .1720 .1720 | 86 22 | 0 23 | 5 38 | 9 17 | .18 .18 |
| 108 | Existing Future | .2055 .2055 | 80 22 | 0 23 | 10 38 | 10 17 | .16 .16 |
| 109 | Existing Future | .1006 .1006 | 80 22 | 0 23 | 10 38 | 10 17 | .133 .133 |
| 110 | Existing Future | .1634 .1634 | 80 22 | 0 23 | 10 38 | 10 17 | .19 .19 |
| 111 | Existing Future | .0674 .0533 | 90 16 | 0 26 | 5 33 | 5 25 | .14 .14 |
| 111.1* | Existing Future | .1194 .0969 | 80 0 | 0 34 | 10 16 | 10 50 | .133 .133 |
| 111.3* | Future | .0420 | 0 | 34 | 16 | 50 | .133 |
| 111.4* | Future | .0141 | 22 | 23 | 38 | 17 | .133 |
| 112.1* | Existing Future | .0894 .0894 | 0 0 | 34 34 | 16 16 | 50 50 | .140 .140 |
| TABLE B-3 (cont.) LA CUEVA ARROYO SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 112.2* | Existing Future | .0826 .0826 | 11 0 | 29 34 | 15 16 | 45 50 | .140 .140 |
| 113* | Existing Future | .1136 .0750 | 80 0 | 0 25 | 15 15 | 5 60 | .133 .133 |
| 115* | Existing Future | .1337 .1202 | 80 0 | 0 26 | 15 12 | 5 62 | .133 .133 |
| 116* | Existing | .1309 | 80 | 0 | 5 | 15 | .133 |
| 116.1 | Future | .1000 | 0 | 25 | 15 | 50 | .133 |
| 116.2 | Future | .0719 | 0 | 25 | 15 | 50 | .133 |
| 116.21 | Future | .0344 | 0 | 40 | 20 | 40 | .133 |
| 117.2* | Existing Future | .1391 .0500 | 73 0 | 0 34 | 7 16 | 20 50 | .22 .133 |
| 117.21* | Existing | .0234 | 0 | 34 | 16 | 50 | .133 |
| 117.22* | Future | .0156 | 0 | 20 | 10 | 70 | .133 |
| 117.3* | Existing Future | .0863 .1172 | 65 0 | 5 34 | 15 16 | 15 50 | .133 .133 |
| 117.31* | Existing | .0250 | 0 | 34 | 16 | 50 | .133 |
| 117.32* | Existing | .0090 | 0 | 34 | 16 | 50 | .133 |
| 117.4* | Existing Future | .0750 .0512 | 85 0 | 0 25 | 5 15 | 10 60 | .133 .133 |
| 117.5* | Existing Future | .0550 .0550 | 0 0 | 10 10 | 20 20 | 70 70 | .133 .133 |
| 118 | Existing Future | .0649 .0649 | 0 0 | 20 20 | 10 10 | 70 70 | .133 .133 |
| 118.1 | Existing Future | .0306 .0306 | 75 0 | 5 20 | 10 30 | 10 50 | .133 .133 |
| 119 | Existing Future | .0549 .0549 | 0 0 | 20 20 | 10 10 | 70 70 | .133 .133 |
| 120 | Existing Future | .0268 .0268 | 50 0 | 0 20 | 0 10 | 50 70 | .133 .133 |
| TABLE B-3 (cont.) LA CUEVA ARROYO SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 121 | Existing Future | .0489 .0489 | 80 0 | 0 20 | 15 10 | 5 70 | .133 .133 |
| 122 | Existing Future | .0225 .0225 | 0 0 | 34 34 | 16 16 | 50 50 | .133 .133 |
| 123 | Existing Future | .0185 .0185 | 0 0 | 48 34 | 12 16 | 40 50 | .133 .133 |
| 124 | Existing Future | .0251 .0251 | 0 0 | 34 34 | 16 16 | 50 50 | .133 .133 |
| 125 | Existing Future | .0508 .0508 | 0 0 | 20 20 | 10 10 | 70 70 | .133 .133 |
| 126 | Existing Future | .0737 .0737 | 0 0 | 20 20 | 10 10 | 70 70 | .133 .133 |
| 127 | Existing Future | .0633 .0633 | 0 0 | 0 20 | 90 10 | 10 70 | .133 .133 |
| 128 | Existing Future | .1373 .1373 | 0 0 | 0 20 | 90 10 | 10 70 | .17 .17 |

| TABLE B-4 LA CUEVA DIVERSION TO NDB DAM SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment % |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 103 | Existing Future | .212 .212 | 6 6 | 41 41 | 53 53 | 0 0 | .198 .198 |
| 103.1 | Existing Future | .2299 .2299 | 27 27 | 33 33 | 40 40 | 0 0 | .234 .234 |
| 103.2 | Existing Future | .0616 .0616 | 25 20 | 30 5 | 31 46 | 14 29 | .139 .139 |
| 103.4 | Existing Future | .0953 .0953 | 55 20 | 0 5 | 35 40 | 10 35 | .136 .136 |
| 103.5 | Existing Future | .0625 .0625 | 20 20 | 5 5 | 40 40 | 35 35 | .133 .133 |
| 103.6 | Existing Future | .0684 .0684 | 58 20 | 8 5 | 8 40 | 26 35 | .137 .137 |
| 104.1 | Existing Future | .1200 .1367 | 50 16 | 10 26 | 15 33 | 25 25 | .133 .133 |
| 104.2 | Existing Future | .0804 .0471 | 84 22 | 0 23 | 8 38 | 8 17 | .16 .16 |
| 105.1 | Existing Future | .1382 .1305 | 70 16 | 0 26 | 15 33 | 15 25 | .133 .133 |
| 105.2 | Existing Future | .1058 .1045 | 84 22 | 0 23 | 8 38 | 8 17 | .133 .133 |

| TABLE B-5 NORTH DOMINGO BACA SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 900 | Existing Future | .441 .441 | 0 0 | 0 0 | 100 100 | 0 0 | .303 .303 |
| 901 | Existing Future | .118 .118 | 0 0 | 0 0 | 100 100 | 0 0 | .133 .133 |
| 902.1 | Existing Future | .0887 .0887 | 35 30 | 25 30 | 30 10 | 10 30 | .248 .248 |
| 902.2 | Existing Future | .1220 .1220 | 35 30 | 25 30 | 30 10 | 10 30 | .248 .248 |
| 902.3 | Existing Future | .073 .073 | 20 20 | 20 40 | 30 5 | 30 35 | .133 .133 |
| 903 | Existing Future | .06405 .08968 | 0 0 | 35 35 | 35 35 | 30 30 | .133 .133 |
| 904 | Existing Future | .0413 .0413 | 0 0 | 35 35 | 35 35 | 30 30 | .133 .133 |
| 905 | Existing Future | .0092 .0092 | 0 0 | 35 35 | 35 35 | 30 30 | .133 .133 |
| 906 | Existing Future | .02368 .02368 | 10 0 | 25 25 | 30 30 | 35 45 | .133 .133 |
| 910.21 | Existing Future | .0137 .0137 | 80 22 | 5 23 | 10 38 | 5 17 | .133 .133 |
| 910.31 | Existing Future | .1563 .1563 | 45 20 | 15 20 | 20 35 | 20 25 | .133 .133 |
| 911 | Existing Future | .058 .058 | 75 22 | 5 23 | 5 38 | 15 17 | .171 .171 |
| 912.11 | Existing Future | .059 .059 | 80 22 | 5 23 | 5 38 | 10 17 | .133 .133 |
| 912.21 | Existing Future | .184 .196 | 65 22 | 5 23 | 20 38 | 10 17 | .154 .154 |
| TABLE B-5 (cont.) NORTH DOMINGO BACA SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 913.1 | Existing Future | .0360 .0360 | 88 22 | 2 23 | 5 38 | 5 17 | .133 .133 |
| 913.2 | Existing Future | .017 .017 | 78 20 | 2 20 | 10 30 | 10 30 | .133 .133 |
| 914.2 | Existing Future | .035 .035 | 48 20 | 2 20 | 40 30 | 10 30 | .133 .133 |
| 915.1 | Existing | .0343 | 85 | 0 | 5 | 10 | .133 |
| 915.2 | Existing Future | .0370 .0370 | 85 0 | 0 20 | 5 10 | 10 70 | .133 .133 |
| 402.5 | Existing Future | .0280 .0280 | 0 0 | 20 20 | 10 10 | 70 70 | .1333 .1333 |
| 402.6 | Existing Future | .0243 .0243 | 0 0 | 20 20 | 10 10 | 70 70 | .133 .133 |
| 408.1 | Existing | .019 | 83 | 2 | 10 | 5 | .15 |
| 919.1 | Existing Future | .079 .079 | 50 22 | 5 23 | 40 38 | 5 17 | .133 .133 |
| 919.2 | Existing Future | .0610 .0427 | 65 22 | 5 23 | 25 38 | 5 17 | .133 .133 |
| 921.3 | Existing Future | .0284 .0140 | 83 22 | 2 23 | 5 38 | 10 17 | .133 .133 |
| 918 | Existing Future | .114 .114 | 78 22 | 2 23 | 10 38 | 10 17 | .26 .26 |
| 921.1 | Existing Future | .0292 .0292 | 83 22 | 2 23 | 5 38 | 10 17 | .133 .133 |
| 921.2 | Existing Future | .0874 .0874 | 80 0 | 0 34 | 10 16 | 10 50 | .133 .133 |
| 917 | Existing Future | .0406 .0406 | 88 22 | 2 23 | 5 38 | 5 17 | .133 .133 |
| TABLE B-5 (cont.) NORTH DOMINGO BACA SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 920.1 | Existing Future | .0202 .0202 | 70 22 | 10 23 | 10 38 | 10 17 | .133 .133 |
| 920 | Existing Future | .0431 .0431 | 83 22 | 2 23 | 5 38 | 10 17 | .147 .147 |
| 922 | Existing Future | .021 .021 | 30 22 | 15 23 | 40 38 | 15 17 | .19 .19 |
| 922.1 | Existing Future | .007 .007 | 66 0 | 17 34 | 0 16 | 17 50 | .133 .133 |
| 922.2 | Existing Future | .0148 .0148 | 0 0 | 30 30 | 30 30 | 40 40 | .133 .133 |
| 922.3 | Existing Future | .0415 .0415 | 0 0 | 30 30 | 30 30 | 40 40 | .133 .133 |
| 923 | Existing Future | .007 .007 | 60 0 | 10 20 | 20 10 | 10 70 | .133 .133 |
| 926.2 | Future | .0470 | 0 | 34 | 16 | 50 | .133 |
| 926.1 | Existing Future | .012 .012 | 22 0 | 23 34 | 38 16 | 17 50 | .133 .133 |
| 926 | Existing Future | .0375 .0578 | 50 0 | 0 25 | 25 15 | 25 60 | .133 .133 |
| 925.2 | Existing Future | .014 .0094 | 96 0 | 0 34 | 2 16 | 2 50 | .133 .133 |
| 925.1 | Existing Future | .064 .064 | 0 0 | 34 34 | 16 16 | 50 50 | .133 .133 |
| 925.3 | Existing Future | .0105 .0105 | 0 0 | 34 34 | 16 16 | 50 50 | .133 .133 |
| 925.4 | Existing Future | .0370 .0370 | 0 0 | 20 20 | 30 30 | 50 50 | .133 .133 |
| 924.1 | Existing Future | .019 .019 | 95 0 | 0 34 | 3 16 | 2 50 | .133 .133 |
| TABLE B-5 (cont.) NORTH DOMINGO BACA SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 924.2 | Existing Future | .007 .025 | 80 0 | 5 34 | 5 16 | 10 50 | .133 .133 |
| 924.3 | Existing Future | .027 .027 | 0 0 | 30 30 | 20 20 | 50 50 | .133 .133 |
| 924.4 | Existing Future | .0172 .0172 | 75 0 | 0 34 | 15 16 | 10 50 | .133 .133 |
| 929 | Existing Future | .024 .024 | 0 0 | 15 15 | 20 20 | 65 65 | .133 .133 |
| 930 | Existing Future | .085 .085 | 0 0 | 34 25 | 16 15 | 50 60 | .133 133 |
| 935 | Existing Future | .110 .110 | 85 11 | 0 29 | 10 20 | 5 40 | .133 .133 |
| 931 | Existing Future | .0605 .0605 | 0 0 | 40 30 | 5 10 | 55 60 | .260 .260 |
| 932.1 | Existing Future | .0073 .0073 | 0 0 | 25 25 | 20 20 | 55 55 | .133 .133 |
| 932.2 | Existing Future | .0073 .0073 | 0 0 | 25 25 | 20 20 | 55 55 | .133 .133 |
| 932.3 | Existing Future | .0313 .0313 | 0 0 | 25 25 | 20 20 | 55 55 | .133 .133 |
| 932.4 | Existing Future | .0574 .0574 | 0 0 | 25 25 | 20 20 | 55 55 | .133 .133 |
| 934.1 | Existing Future | .0468 .1031 | 10 0 | 30 25 | 20 15 | 40 60 | .133 .133 |
| 421.4 | Existing | .012 | 80 | 0 | 10 | 10 | .133 |
| 937 | Existing Future | .0352 .0452 | 80 0 | 0 25 | 10 15 | 10 60 | .133 .133 |
| 960 | Existing Future | .0075 .0075 | 0 0 | 25 25 | 25 25 | 50 50 | .133 .133 |
| TABLE B-5 (cont.) NORTH DOMINGO BACA SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 940.2 | Existing Future | .0156 .0156 | 0 0 | 34 34 | 16 16 | 50 50 | .133 .133 |
| 939.16 | Existing Future | .0128 .0128 | 0 0 | 34 34 | 16 16 | 50 50 | .133 .133 |
| 939.14 | Existing Future | .0112 .0112 | 0 0 | 10 10 | 30 30 | 60 60 | .133 .133 |
| 940.0 | Existing Future | .0141 .0141 | 0 0 | 34 34 | 16 16 | 50 50 | .133 .133 |
| 940.1 | Existing Future | .007 .007 | 0 0 | 20 20 | 10 10 | 70 70 | .133 .133 |
| 942.1 | Existing Future | .0469 .0469 | 20 0 | 5 10 | 30 20 | 45 70 | .133 .133 |
| 942.2 | Existing Future | .1031 .1031 | 15 0 | 15 34 | 25 16 | 45 50 | .160 .160 |
| 943.1 | Existing Future | .012 .012 | 0 0 | 15 15 | 20 20 | 65 65 | .133 .133 |
| 943.2 | Existing Future | .013 .0375 | 80 0 | 0 20 | 10 10 | 10 70 | .133 .133 |
| 443.2 | Existing Future | .0703 .0703 | 30 0 | 10 10 | 10 20 | 50 70 | .133 .133 |

| TABLE B-6 SOUTH DOMINGO BACA SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 400 | Existing Future | 2.069 2.069 | 0 0 | 13 13 | 87 87 | 0 0 | 0.543 0.543 |
| 400.51 | Existing Future | 0.1688 0.1688 | 30 20 | 35 40 | 10 5 | 25 35 | 0.133 0.133 |
| 400.52 | Existing Future | 0.0734 0.0734 | 30 20 | 35 40 | 10 5 | 25 35 | 0.150 0.150 |
| 400.53 | Existing Future | 0.9830 0.9830 | 34 34 | 50 50 | 12 12 | 4 4 | 0.579 0.579 |
| 400.3 | Existing Future | 0.255 0.255 | 0 0 | 0 0 | 100 100 | 0 0 | 0.133 0.133 |
| 400.61 | Existing Future | 0.093 0.093 | 30 20 | 35 40 | 10 5 | 25 35 | 0.133 0.136 |
| 400.62 | Existing Future | 0.098 0.098 | 30 20 | 35 40 | 10 5 | 25 35 | 0.133 0.133 |
| 400.65 | Existing Future | 0.5919 0.5919 | 22 22 | 64 64 | 9 9 | 5 5 | 0.468 0.468 |
| 400.66 | Existing Future | 0.094 0.094 | 30 20 | 35 40 | 10 5 | 25 35 | 0.140 0.140 |
| 400.13 | Existing Future | 0.0139 0.0139 | 0 0 | 34 34 | 16 16 | 50 50 | 0.133 0.133 |
| 400.1 | Existing Future | 0.2482 0.2420 | 63 15 | 5 20 | 20 35 | 10 30 | 0.133 0.133 |
| 403.1 | Existing Future | 0.0795 0.0673 | 83 22 | 2 33 | 10 38 | 5 17 | 0.133 0.133 |
| 403.2 | Existing Future | 0.1103 0.0796 | 83 22 | 2 23 | 5 38 | 10 17 | 0.156 0.156 |
| 403.3 | Future | 0.0155 | 22 | 23 | 38 | 17 | 0.133 |
| 402.14 | Existing Future | 0.0821 0.0884 | 65 40 | 5 15 | 10 15 | 20 30 | 0.169 0.169 |
| TABLE B-6 (cont.) SOUTH DOMINGO BACA SUB-BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatment (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 404.3 | Existing Future | 0.0463 0.0463 | 88 22 | 2 23 | 5 38 | 5 17 | 0.133 0.133 |
| 404.2 | Existing Future | 0.0525 0.0525 | 88 22 | 2 23 | 5 38 | 5 17 | 0.133 0.133 |
| 401.4 | Existing Future | 0.0432 0.0452 | 75 22 | 5 23 | 10 38 | 10 17 | 0.133 0.133 |
| 401.32 | Existing Future | 0.052 0.052 | 78 22 | 2 23 | 10 38 | 10 17 | 0.133 0.133 |
| 401.5 | Existing Future | 0.029 0.045 | 80 22 | 5 23 | 5 38 | 10 17 | 0.133 0.133 |
| 401.33 | Existing Future | 0.043 0.043 | 88 22 | 2 23 | 5 38 | 5 17 | 0.133 0.133 |
| 401.31 | Existing Future | 0.0538 0.0518 | 73 22 | 2 23 | 15 38 | 10 17 | 0.133 0.133 |
| 401.2 | Existing Future | 0.085 0.085 | 88 22 | 2 23 | 5 38 | 5 17 | 0.133 0.133 |
| 408.1 | Future | 0.0098 | 22 | 23 | 38 | 17 | 0.133 |
| 507.0 | Future | 0.0089 | 60 | 10 | 20 | 10 | 0.133 |

| TABLE B-7 PINO ARROYO BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatments (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 500.0 | Existing Future | 0.0635 0.0635 | 33 20 | 29 40 | 13 5 | 25 35 | 0.133 0.133 |
| 500.1 | Existing Future | 0.0549 0.0549 | 33 20 | 29 40 | 13 5 | 25 35 | 0.147 0.147 |
| 500.2 | Existing Future | 0.0508 0.0508 | 33 20 | 29 40 | 13 5 | 25 35 | 0.133 0.133 |
| 500.3 | Existing Future | 0.0532 0.0532 | 33 20 | 29 40 | 13 5 | 25 35 | 0.159 0.159 |
| 500.4 | Existing Future | 0.0209 0.0209 | 33 20 | 29 40 | 13 5 | 25 35 | 0.133 0.133 |
| 501.0 | Existing Future | 0.0139 0.0139 | 60 22 | 10 23 | 20 38 | 10 17 | 0.133 0.133 |
| 501.1. | Existing Future | 0.0392 0.0392 | 60 22 | 10 23 | 20 38 | 10 17 | 0.133 0.133 |
| 501.2 | Existing Future | 0.0501 0.0501 | 60 22 | 10 23 | 20 38 | 10 17 | 0.133 0.133 |
| 502.0 | Existing Future | 0.0660 0.0660 | 60 22 | 10 23 | 20 38 | 10 17 | 0.133 0.133 |
| 502.1 | Existing Future | 0.0750 0.0750 | 60 22 | 10 23 | 20 38 | 10 17 | 0.133 0.133 |
| 502.2 | Existing Future | 0.0339 0.0339 | 60 22 | 10 23 | 20 38 | 10 17 | 0.163 0.163 |
| 502.3 | Existing Future | 0.0395 0.0395 | 60 22 | 10 23 | 20 38 | 10 17 | 0.133 0.133 |
| 503.0 | Existing Future | 0.0561 0.0561 | 60 22 | 10 23 | 20 38 | 10 17 | 0.135 0.135 |
| 503.1 | Existing Future | 0.0220 0.0220 | 60 22 | 10 23 | 20 38 | 10 17 | 0.142 0.142 |
| TABLE B-7 (cont.) PINO ARROYO BASIN CHARACTERISTICS |  |  |  |  |  |  |  |
| Basin ID | Hydrologic Condition | Basin Area (mi2) | Land Treatments (%) |  |  |  | TP (hrs) |
|  |  |  | A | B | C | D |  |
| 503.2 | Existing Future | 0.0494 0.0494 | 60 22 | 10 23 | 20 38 | 10 17 | 0.133 0.133 |
| 504.0 | Existing Future | 0.0372 0.0372 | 60 22 | 10 23 | 20 38 | 10 17 | 0.133 0.133 |
| 505.0 | Existing Future | 0.0287 0.0287 | 60 22 | 10 23 | 20 38 | 10 17 | 0.133 0.133 |
| 506.0 | Existing Future | 0.0484 0.0484 | 60 22 | 10 23 | 20 38 | 10 17 | 0.216 0.216 |
| 507.0 | Existing | 0.0089 | 60 | 10 | 20 | 10 | 0.133 |
| 508.0 | Existing Future | 0.0259 0.0259 | 0 0 | 34 34 | 16 16 | 50 50 | 0.133 0.133 |
| 509.0 | Existing Future | 0.0259 0.0259 | 0 0 | 34 34 | 16 16 | 50 50 | 0.133 0.133 |
| 510.0 | Existing Future | 3.178 3.178 | 0 0 | 13 13 | 87 87 | 0 0 | 0.429 0.429 |
| 510.1 | Existing Future | 0.464 0.464 | 0 0 | 13 13 | 87 87 | 0 0 | 0.195 0.195 |
| 510.2 | Existing Future | 0.270 0.270 | 90 90 | 9 9 | 1 1 | 0 0 | 0.138 0.138 |
| 510.3 | Existing Future | 0.278 0.278 | 70 70 | 17 17 | 7 7 | 6 6 | 0.133 0.133 |
| 510.4 | Existing Future | 0.221 0.221 | 48 20 | 30 40 | 6 5 | 16 35 | 0.133 0.133 |

| TABLE 5-1 NORTH CAMINO ARROYO - WORST CASE |  |  |  |
| --- | --- | --- | --- |
|  | Avulsion Control Q100 (cfs) | No Avulsion Control, Primary Avulsion Q100 (cfs) | No Avulsion Control, Secondary Avulsion Q100 (cfs) |
| I-25 (AP 313.99) Existing Future | 1846 1982 | #5 2127 #5 2399 | NA NA |
| North Diversion Channel (AP 402.9) Existing Future | 1863 2422 | #5 2167 #5 2883 | NA NA |

NORTH CAMINO TRIBUTARY ARROYO

| Barstow (AP 307.9) Existing Future | 181 232 | #5 660 #5 744 | NA NA |
| --- | --- | --- | --- |
| Wyoming (AP310.9) Existing Future | 199 296 | #5 672 #5 766 | NA NA |
| Coronado Airport (AP311.99) Existing Future | 527 820 | #5 875 #5 1290 | NA NA |

(Rev. 11/97)

| TABLE 5-2 EL CAMINO ARROYO - WORST CASE |  |  |  |
| --- | --- | --- | --- |
|  | Avulsion Control Q100 (cfs) | No Avulsion Control, Primary Avulsion Q100 (cfs) | No Avulsion Control, Secondary Avulsion Q100 (cfs) |
| Tramway (AP 200.0) Existing Future | 472 472 | #1 1791 #1 1791 | NA NA |
| Browning (AP 201.9) Existing Future | 587 587 | #1 1782 #1 1796 | NA NA |
| Eubank (AP 202.19) Existing Future | 619 646 | #1 1790 #1 1806 | NA NA |
| Holbrook (AP 202.29) Existing Future | 638 685 | #4 3161 #4 3243 | #1 1803 #1 1816 |
| Ventura (AP 202.39) Existing Future | 638 710 | #4 3165 #4 3247 | #1 1810 #1 1826 |
| Barstow (AP 203.39) Existing Future | 726 920 | #4 3213 #4 3310 | #1 1841 #1 1883 |
| Wyoming (AP 204.9) Existing Future | 790 1130 | #4 3243 #4 3380 | #1 1852 #1 1926 |
| I-25 (AP 205.9) Existing Future | 908 1335 | #4 3286 #4 3438 | #1 1876 #1 1975 |

| TABLE 5-3 LA CUEVA ARROYO - WORST CASE |  |  |  |
| --- | --- | --- | --- |
|  | Avulsion Control Q100 (cfs) | No Avulsion Control, Primary Avulsion Q100 (cfs) | No Avulsion Control, Secondary Avulsion Q100 (cfs) |
| Eubank (AP 109.99) Existing Future | 2942 3040 | #2 3535 #2 3647 | NA NA |
| Ventura (AP 110.90) Existing Future | 2939 3048 | #3 3545 #3 3709 | #2 3537 #2 3693 |
| Barstow (AP 111.99) Existing Future | 2953 3066 | #3 3560 #3 3744 | #2 3530 #2 3727 |
| Wyoming (AP 112.90) Existing Future | 2986 3094 | #3 3597 #3 3795 | #2 3562 #2 3774 |
| Louisiana (AP 113.90) Existing Future | 2989 3106 | #3 3589 #3 3820 | #2 3548 #2 3799 |
| I-25 (AP 115.90) Existing Future | 2994 3108 | #3 3587 #3 3830 | #2 3546 #2 3809 |
| North Diversion Channel Existing Future | 3898 4591 | #3 4545 #3 5290 | #2 4440 #2 5251 |