October 16, 2015

Philip W. Clark, PE

Clark Consulting Engineers

19 Ryan Rd

Edgewood, NM 87015

Re:	Signal Pointe Subdivision

Signal/Ventura

Grading and Drainage

Engineers Stamp Date 9/15/2015 (C20D070)

Dear Mr. Clark,

Based upon the information provided in your submittal received with Engineer’s Stamp Date 9/15/2015, the above referenced Grading and Drainage Plan is approved based on the following conditions:

- The wall should remain in place once the erosion occurs.  Please design the flood control structures accordingly.  The wall detail/calculations/specifications must be clearly shown on the DRC plans.

- Provide plan and profile sheets for the flood control structure including the top and bottom elevations and Stationing.

- Grading Certification will be required prior to release of Financial Guarantee, Workorder and building permits.

If you have any questions, you can contact me at 924-3999.

Sincerely,

Shahab Biazar, P.E.

City Engineer, Planning Dept.

Development Review Services

C:	email