April 10, 2017

David Soule, P.E.

Inspections Plus Inc.

4382 Alexander Blvd NE

Albuquerque, NM 87107

**Re: Holly Estates-Abrazo Homes**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 4-5-17 (C21E040)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 4-5-17 the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit with the condition:

1. That the inlet protection remain around the inlet at the west end of Holly Ave until approximately 2/3 of the houses have been constructed..

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email