September 14, 2016

Ron Hensley, P.E.

THE Group

Ron@thegroup.cc

**Re: Holly Estates Subdivision**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 8-27-16 (C21E040)**

Dear Mr. Hensley,

Based upon the information provided in your submittal received 9-14-16, the above referenced plan is approved to be included in the SWPPP and to include in the Work Order Construction plans with the following condition:

Provide inlet protection, that does not cover the grate (e.g. wattle/mulch sock), for the inlet located in the cul-de-sac.

Include a copy of the approved plan in the Work Order construction plans.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

Copy: e-mail