November 26, 2018

Lelan Morrison, CPESC

Inspections Plus Inc.

805 Nikanda Rd NE

Albuquerque, NM 87107

Re:	La Cuentista-Abrazo Homes

Erosion and Sediment Control Plan

Engineer’s Stamp Date 11-8-18 (D10E002B)

Dear Mr. Morrison,

Based upon the information provided in your submittal received 11-13-18, the above referenced plan is approved to be included in the SWPPP, for NOI Documentation review and Building Permit with the following condition:

1.  Abrazo Homes will be responsible for maintaining the inlet protection on Burdock and Buckthorn streets that are located in front of Abrazo Homes lots, when the inlet protection is turned over to Abrazo homes from the developer.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C:	email