|  | Date: 05/28/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | TQM for La Cuentista Subdivision. |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 01 | Curb sweeping required, particular attention to be paid near inlets and inlet BMPs. | 11/27/18 |  |  |
| 02 | Maintan cut back behind the curb. Remove dirt berms, being utilized at work in progess lots, from curb and gutter. | 11/27/18 |  | 01/24/19 |
| 03 | Inspector attempted to leave the SWPPP book in model home at 8003 Compass, closed at time of inspection. | 11/27/18 |  | 01/24/19 |
| 04 | No additional site BMP corrective actions noted at the time of inspection. Rain event on 12/02/18 recorded at 0.09". | 12/11/18 |  | 12/11/18 |
| 05 | No additional site BMP corrective actions noted at the time of inspection. Precipitation event on 12/26/18 recorded at 0.25". | 12/26/18 |  | 12/26/18 |
| 06 | No additional site BMP corrective actions noted at the time of inspection. Frozen conditions. | 01/08/19 |  | 01/08/19 |
| 07 | Replace wattles and coco mats, or use gravel bags, on inlets: Burlock and Buckhorn streets. | 01/24/19 |  | 03/07/19 |
| 08 | Storm events: 01/10/19=0.12"; 01/11/19=0.04" ; 01/13/19=0.19" ; 01/18/19=0.13" per weather underground: Petroglyphs Estates KNMALBUQ547 | 01/24/19 |  | 01/24/19 |
| 09 | Maintain cut back at the curb: 6000 Buckhorn. | 02/07/19 |  | 03/07/19 |
| 10 | Sediment removal/ clean up required at all ABRAZO lots per city of Albuquerque request. | 02/21/19 |  | 03/07/19 |
| 11 | Construction debri and litter collection required. See pictures from the city of Albuquerque. | 02/21/19 |  | 03/07/19 |
| 12 | Remove concrete washout from lots. See pictures from the city of Albuquerque. | 02/21/19 |  | 03/07/19 |
| 13 | Storm events: 02/14/19=0.14"; 02/19/19=0.06" per Weather Underground: The Trails KNMALBUQ614 | 02/21/19 |  | 02/21/19 |
| 14 | Curb sweeping required: Abrazo lots on Buckthorn and lots on Burdock. | 03/07/19 |  | 03/21/19 |
| 15 | Remove sediment built up on inlets, East side Abrazo lots. | 03/07/19 |  | 03/21/19 |
| 16 | Storm events per Weather Underground: 02/22/19= 0.06"; 02/23/19= 0.14" Montecito Estates KNMALBUQ548 | 03/07/19 |  | 03/07/19 |
| 17 | Storm event inspection completed on 03/13/19= 0.40". | 03/13/19 |  | 03/13/19 |
| 18 | Maintain the cut back at the curb, Gloden Seal: 6013, 6009, 6007 | 03/21/19 |  | 04/04/19 |
| 19 | Remove concrete washout from the lots: 6016 Golden Seal | 03/21/19 |  | 04/04/19 |
| 20 | Maintain the cut back at the curb, Buck Thorn: 6015 | 03/21/19 |  | 04/04/19 |
| 21 | Remove concrete washout from the lots, Buck Thorn: 6020, 6000. | 03/21/19 |  | 04/04/19 |
| 22 | Maintain the cut back at the curb, Burdock: 8204. | 03/21/9 |  | 04/04/19 |
| 23 | Curb sweep, Golden Seal: 6007, 6009. | 03/21/19 | 6007 maintained 4/4/19. | 04/16/19 |
| 24 | Maintain the cut back at the curb, Burdock: 8200. | 04/04/19 |  | 04/30/19 |
| 25 | Shovel sediment from curb, Burdock: 8200, 8204. | 04/04/19 |  | 04/30/19 |
| 26 | Remove trash and sediment buid up from inlets (2) Burdock and BuckThorn | 04/04/19 |  | 04/30/19 |
| 27 | Trash collection required: 6009 Goldenseal, Abrazo sign/ flags NE corner. | 04/04/19 |  | 04/16/19 |
| 28 | Shovel sediment from curb, BuckThorn: 6000 through 6012. | 04/04/19 |  | 04/16/19 |
| 29 | Remove stucco washout from curbside, at portolet: 6009 Golden Seal. | 04/04/19 |  | 04/16/19 |
| 30 | Shovel sediment from curb, BuckThorn: 6005 through 6015. | 04/16/19 |  | 04/30/19 |
| 31 | Remove concrete washout from the ground at the roll off location. | 04/16/19 |  | 04/30/19 |
| 32 | Storm event readings: 04/17/19=0.50". Storm inspection report completed on 04/18/19. | 04/18/19 |  | 04/18/19 |
| 33 | No site BMP corrective actions noted at the time of inspection. Curbs, inlets, staging area cleaned. | 04/30/19 |  | 04/30/19 |
| 34 | Storm event reading: 05/10/19=0.33". Storm inspection completed on Monday, 05/13/19. | 05/13/19 |  | 05/13/19 |
| 35 | Curb sweeping required: 6001-6015 BuckThorn. | 05/13/19 |  |  |
| 36 | Curb sweeping required: 6009 Golden Seal and East to first inlet on Burdock. | 05/13/19 |  |  |
| 37 | Remove washout from lot and maintain the cut back at the curb: 8200 and 8204 Burdock. | 05/13/19 |  |  |
| 38 | Curb sweeping required: 6000-6012 BuckThorn. | 05/28/19 |  |  |
| 39 | Clear sediment from inlet BMP's: (2) Inlets on Burdock, South of Golden Seal. | 05/28/19 |  |  |
| 40 | Clear sediment from inlet BMP's: 6001 Buckthorn. | 05/28/19 |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |