## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | D10E002D |  | Project Name: |  | La Cuentista III
NPDES Id. No. | NMR1004P9 |  | Location: |  | Rosa Parks and Kimmick
4/23/2025 & 5/1/2025 |  | Owner |  |  |  | Contractor
Operator |  | Pulte Homes of NM |  |  |  | Guzman
Contact name & title |  | Kevin Patton |  |  |  | Rudy Guzman
e-mail |  | kevin.patton@pultegroup.com |  |  |  | rudy@guzmancs.com
Contact Phone # |  | 505-341-8591 |  |  |  | 505-459-3128
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 2pm |  |  |  | Rain
Construction Phase: |  | verticals (ph 1 &2) and grading (ph3&4) | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 70 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2025-04-20 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | The SWPPP and self-inspection reports were not available at the time of the inspection, in violation of CGP Parts 4.7.3 and 7.3. Required mitigation: You must keep a copy of the current SWPPP and all inspection reports at the site or at an easily accessible location so that they can be made immediately available at the time of an on-site inspection per CGP Parts 4.7.3 and 7.3. The SWPPP and inspection reports may be prepared, signed, and kept electronically if the records are (a) in a format that can be read in a similar manner as a paper record, (b) legally dependable with no less evidentiary value than their paper equivalent, and (c) immediately accessible to the inspector during an inspection to the same extent as a paper copy stored at the site would be.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | No | Latest report Date: |  | N/A
Notes:
SWPPP was not in the construction office in the model home garage at the end of Pulte office.
It was reported that there was a QR code, but none was found.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action