 **City of Albuquerque SWPPP Inspection Checklist**

|  |  |  |  |
| --- | --- | --- | --- |
| Project Name: | Pulte @ Volcano Cliffs | Project Operator: | Pulte |
| Project Location: | Kemick – D10E003\_P | Contact Name: | Brian Anderson |
| NPDES Permit Number: | NMR1002X8 | Contact Number: | 331-8711 |
| Date of Inspection: | 6/30/21 | Contact Email: | Brian.Anderson@pultegroup.com |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **SWPPP Requirements** | **CGP Section** | **YES** | **NO** | **COMMENTS** |
| Has the SWPPP been certified?  | 7.2.10 |[ ] [x]  Missing and required |
| Are the owners/operators and their areas of control identified?  | 7.2.1 |[ ] [x]  Not needed if only one Operator |
| Are the Stormwater Team members identified? Is there training documented  | 7.2.2&6 |[x] [ ]  See sheet ESC-4 of the ESC Plan. (Kevin and Tim)Person keeping the SWPPP is not trained. Training documentation missing, Map not up-to-date. |
| Has a Delegation of Authority notice been signed and dated?  | Appendix I, Part I.11.2 |[ ] [x]  Who is signing for operator on reports? Delegation missing. |
| Is a copy of the approved NOI included?  | 7.2.11 |[x] [ ]   |
| Is a copy of the acknowledgment letter for NeT assigning the NPDES ID included?  | 7.2.11 |[ ] [x]  N/A, NOI is sufficient |
| Is a copy of the CGP included?  | 7.2.11 |[ ] [ ]  Appendix B not legible(too small). It’s hard to train staff when they can’t read the CGP. |
| Is there a schedule of project activities with start/end dates?  | 7.2.3 |[ ] [ ]  See sheet ESC-4, but  |
| Has the site map been updated?  | 7.2.4 |[ ] [x]  No Notes on plan , dates of installation etc, Cutbacks not built, SF instead, but not noted on plan |
| Have there been any SWPPP modifications and are they dated and signed by an authorized person as defined in Appendix I, Part 1.11.2. | 7.4.2, 7.4.3 |[ ] [x]   |
| Are maintenance/corrective action logs updated?  | 2.1.4, 5.4 |[ ] [x]  April is latest reports |
| Are self-inspection reports included and signed?  | 4.7, 4.7.2 |[ ] [x]   |