|  | Date: 07/09/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Tiburon Heights Subdivision by Rhett Ashley Homes. |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 01 | Owner and operator are required to sign the SWPPP book certification, delegation and acknowledgement pages. SWPPP book is located at: 7907 Tiburon / Model Home. | 06/13/19 |  | 06/18/19 |
| 02 | Remove concrete washout from the ground and pace in a designated concrete washout facilty. Lined pit, roll off or disposable washout required. (7927 Teaberry, 7900 Tiburon). | 06/13/19 | 06/17/19 | 06/18/19 |
| 03 | Provide inlet protection, per the ECP, lot 16/17 on Tiburon. | 06/13/19 |  | 07/09/19 |
| 04 | Storm event on 06/17/19= 0.06" per nearby rain gauge and Weather Underground as secondary. | 06/18/19 |  | 06/18/19 |
| 05 | No additional site BMP corrective actions noted at the time of inspection. | 06/18/19 |  | 06/18/19 |
| 06 | No additional site BMP corrective actions noted at the time of inspection. 7919 and 7923 Teaberry Dr. in progress. BMP's in good working order. | 06/25/19 |  | 06/25/19 |
| 07 | No additional site BMP corrective actions noted at the time of inspection. Storm event on 07/01/19= 0.25" | 07/02/19 |  | 07/02/19 |
| 08 | No site BMP corrective actions noted at the time of inspection. Storm events on 07/06-07/19= 0.15". | 07/09/19 |  | 07/09/19 |
| SWPPP Management Signature: Date: |  |  |  |  |