September 13, 2013

Richard J. Berry, Mayor

Guy Jackson, P.E.

Guy Jackson & Associates, LLC

10522 Florence Ave.  NE

Albuquerque, NM 87122

RE:	Taylor Ranch Self Storage – Bldg. A			File  D11-D009B1

6971 Taylor Ranch Drive  NW  (Tract Y-2A-1-A )

Drainage Report and Plan for Building Permit		 Stamp: 8/29/13

Dear Mr. Jackson,

Based upon the information provided in your submittal received August 30, 2013, the above referenced Grading and Drainage Plan is approved for Building Permit.

Please attach a copy of this approved plan to the Building Permit, construction sets prior to sign-off by Hydrology.

Prior to Certificate of Occupancy release, an Engineer’s Certification of the As-Built grading and drainage, per the DPM checklist will be required.

NOTE:  Hydrology Section is encouraging the construction of water harvesting features in all new development.  If landscaping allows it, we suggest that the landscaped areas which receive runoff be depressed to retain some rainfall on the site.  If you and the architect are able to make this revision, please reflect the change on your Grading Certification plan.

If you have questions, please contact me by email at  grolson@cabq.gov,  or telephone     505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  D11-D009B1

c.pdf	Addressee via Email: GJackson708@comcast.net