December 3, 2012

Ronald R. Bohannan, P.E.

Tierra West LLC

5571 Midway Park Pl NE

Albuquerque, NM  87109

Re:	Sagebrush Community Church, 6440 Coors Blvd NW

Request for Permanent C.O. –Accepted

Engineer’s Stamp dated: 8-29-06, (D12D001)

Certification dated: 11-29-12

Dear Mr. Bohannan,

Based upon the information provided in the Certification received 11-30-12, the above referenced Certification is acceptable for a release of a Permanent Certificate of Occupancy by Hydrology.

A separate grading plan should be submitted for subsequent Building Permit approvals as it is difficult to see where the building is on the certification submitted and will help with grading adjacent to the structure.

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Hydrology

Development and Building Services

C:	CO Clerk—Katrina Sigala

E-mail