November 21, 2011

David Soule, P.E.

Rio Grande Engineering

P.O. Box  93924

Albuquerque, NM 87199

Re:	A Class RV Storage

Grading and Drainage Plan

Engineer’s Stamp date 10-20-11 (D-16/D002A3)

Dear Mr. Soule,

Based upon the information provided in your submittal received 10/20/11, the above referenced plan can not be approved for Grading Permit, Paving Permit and Building Permit until the following comments are addressed.

- An approval letter or email from AMAFCA is required.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	File