September 27, 2011

Joseph J. Casares, Jr. P.E.

Larkin Group NM Inc.

8500 Menaul Blvd NE, Suite A-440

Albuquerque, NM 87112

Re:	International Indoor Soccer Area, 1311 Cuesta Arriba Ct. NE, Grading And Drainage Plan Engineer’s Stamp date 9-26-11 (D16/D002B)

Dear Mr. Casares,

Based upon the information provided in your submittal received 9-26-11, the grading and Drainage Plan is approved for Site Development For Building Permit, Building  Permit, Grading Permit, and SO-19 Permit based on the following condition.

- 18” sidewalk culvert under the “Construction Notes” on Sheet C101 must be changed to 12” sidewalk culvert.

A separate SO-19 permit is required for construction within City ROW.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit.  The work in the City ROW must be inspected and accepted.  Contractor must contact Martin Pacheco at 235-8016 and Construction Coordination at 924-3416 to schedule an inspection.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge and a Topsoil Disturbance Permit since it is disturbing ¾ of an acre or more.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Service

# C:	file