March 31, 2016

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

**Re: NMAC Building**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 3-29-16 (D16E002F)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 3-29-16 the above referenced plan is approved to be included in the SWPPP and for ESC Permit for grading and Building Permit.

Include a copy of the approved plan in the Building Permit set.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email, Jeff@inspectionsplus.com