November 26, 2019

Las Lomitas Industrial, LLC - Joshua Pineda Joshua.pineda@comcast.net

josh@yardmanlandscaping.com

Site: 7901 Las Lomitas Dr. NE – D16E002I

Re:	Drainage Ordinance (14-5-2-1) Violations for Erosion and Sediment Control

Dear Mr. Thukar,

The following violations were observed at the inspection today.

- Stormwater controls (BMPs) are missing (Silt Fence).

- Your ESC Permit is not posted for public inspection.

Photos are shown below.

Required Mitigation:

- Post your permit.

- Install and maintain stormwater controls (BMPs) per the approved plan.

If the violations are not mitigated within 7 days, the property owner is subject to a fine of $500/day per the City’s Drainage Control Ordinance.

If you have any questions, you can contact me at 924-3420 or jhughes@cabq.gov .

Sincerely,

James D. Hughes, P.E.

Principal Engineer, Hydrology/Stormwater Quality

Planning Dept.