|  | Date: 02/12/20 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | 7901 Las Lomitas Dr NE |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Need to install silt fence around the site | 12/3/2019 |  | 12/18/19 |
| 2 | Need to repair the gulleys that were created in the offsite pond that is not part of this project | 12/3/19 |  |  |
| 3 | No new issues at the time of inspection | 12/18/19 |  | 12/18/19 |
| 4 | The site looked good at the time of this inspection | 01/02/20 |  | 01/02/20 |
| 5 | No new issues at the time of inspection | 01/15/20 |  | 01/15/20 |
| 6 | No new issues at the time of inspection | 01/29/20 |  | 01/29/20 |
| 7 | Repair the silt fence at the entrance of the site | 02/12/20 |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |