October 9, 2012

David A. Aube, P.E.

Hartman & Majewski Design Group

120 Vassar Dr SE Suite 100

Albuquerque, NM 87106

Re:	Masthead Office Phase II

Grading and Drainage Plan

Engineer’s Stamp dated 10-1-12 (D17/D003P1)

Dear Mr. Aube,

Based upon the information provided in your submittal received 10-2-2012, the above referenced plan has been approved for Grading Permit and Building Permit and SO-19 permit. All landscaping not in the public right of way must be depressed. Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

A separate permit (SO 19) is required for construction within City ROW.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit. To obtain a permanent Certificate of Occupancy, the sidewalk culvert in the City ROW must be inspected and accepted.  Please contact Martin Pacheco, 235-8016, to schedule an inspection. Also, prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

RER/SB

# C:	File