September 27, 2012

David A. Aube, P.E.

Hartman & Majewski Design Group

120 Vassar Dr SE

Albuquerque, NM 87106

Re:	Masthead Office Phase II

Grading and Drainage Plan

Engineer’s Stamp dated 9-24-12 (D17/D003P1)

Dear Mr. Aube,

Based upon the information provided in your submittal received 9-24-12, the above referenced plan can not be approved until the following comments are addressed.

- Is there 3 or 4 drainage basins?

- The Drainage summary font is to small and not legible, increase the size and clarity.

- Under Prep 4 there is 105% land treatments.

- Site plan is not clear, enlarge.

- Depress all landscaping.

- Extend sidewalk culvert plate 2 feet past the property line.

- Tack weld all bolts on the sidewalk culvert plate.

- Show spot elevations along the property lines.

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

RER/SB

# C:	File