From:	Sims, Timothy E.
Sent:	Monday, November 28, 2011 12:28 PM
To:	Pacheco, Martin
Cc:	Cherne, Curtis 
Subject:	RE: REDW 

Martin
 
Just finished hydrology's site inspection for this project and the two sidewalk culverts along Tiburon don't appear to meet CoA Standard #2236.  These plates only cover the sidewalk in lieu of the entire right of way frontage.  Per the standard the plates should extend from the property line to the face of curb.  Since this is already constructed coordinate with Curtis (924-3986) to help resolve this issue.

Timothy E. Sims
Plan Checker--Hydrology 
505-924-3982

_____________________________________________ 
From: 	Pacheco, Martin  
Sent:	Monday, November 28, 2011 9:34 AM
To:	'scottmmcgee@gmail.com'
Cc:	Sims, Timothy E.; 'Derrell DP. Powell'
Subject:	REDW 

Gentleman,

Upon inspection of the sidewalk culverts at 7425 Jefferson NE, have PASSED inspection.

Thank you,
Martin Pacheco
DMD Storm/Arroyo Division
martinpacheco@cabq.gov
505-235-8016 cell
505-857-8201 office