August 28, 2014

Mr. Jeff Wooten

4700 Lincoln NE

Suite 111

Albuquerque, NM 87109

Re:	Kinesio Holding Corporation, International Headquarters

Erosion Sediment Control (ESC) Plan

Engineer’s Stamp Date 7-31-14 (D17E103)

Dear Mr. Wooten,

Based upon your submittal received 3-06-14, the above referenced Erosion Sediment Control (ESC) plan is acceptable for Building Permit based on the following condition:

- Place the NPDES Posting Board on-site (visible from the street).

- Show the staging area on your future plans and include a note that states “Project is required to maintain a regiment of street sweeping and clean up measures in the event of track out to minimize and prevent off site conveyances during construction”.

- Stabilized Construction Entrance depth should be 50’ minimum.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.

If you have any questions, you can contact me at 924-3999.

Sincerely,

Shahab Biazar, P.E.

Acting City Engineer, Planning Dept.

Development Review Services

C:	e-mail