## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | D17E107 |  | Project Name: |  | Legacy 2 @ Journal Center
NPDES Id. No. | NMR1003FK |  | Location: |  | 7800 Headline Blvd NE
2023-06-13 |  | Owner |  |  |  | Contractor
Operator |  | Titan Development LLC |  |  |  | Pavilion Construction
Contact name & title |  | Joshua Rodgers |  |  |  | Keven Mohundro
e-mail |  | jrogers@titan-development.com |  |  |  | kmohundro@pavilionconstruction.com
Contact Phone # |  | 505-998-0163 |  |  |  | 505-218-1023
COA Inspector |  | Chancellor English |  |  |  | Start/End Time | 2pm |  |  |  | Rain
Construction Phase: |  | CO | [8 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  | 80 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [6 empty] | 2023-05-22 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [10 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | Materials are being stored without cover. As per CGP Section 2.3.3.a, for building materials and building products,51 provide either (1) cover (e.g., plastic sheeting, temporary roofs) to minimize the exposure of these products to precipitation and to stormwater, or (2) a similarly effective means designed to minimize the discharge of pollutants from these areas.
2 | Waste dumpster is full and uncovered. As per CGP Section 2.3.3.e, provide waste containers of sufficient size and number and for those without lids, provide a cover or similarly effective means designed to minimize the discharge of pollutants.
3 | Permit coverage expired in 2022. Resubmit NOI for the current CGP.
4 | Storage area and waste dumpster is not marked on ESC Plan received by the city. Area is incomplete and marked as preserved vegetation.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [5 empty] | No
4 | Self Inspection Reports |  |  | no | Latest report Date:
Notes: | One prior violation for BMP maintenance in 2021
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action