## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | D17E112 |  | Project Name: |  | Allaso JC-Six Apartments
NPDES Id. No. | NMR1005DB |  | Location: |  | 7501 Jefferson St. NE
2023-09-25 |  | Owner |  |  |  | Contractor
Operator |  | Titan JC6 LLC |  |  |  | HB Construction
Contact name & title |  | Josh Rogers |  |  |  | Zach Gruen
e-mail |  | jrogers@titan-development.com |  |  |  | zachg@hbconstruction.com
Contact Phone # |  | 505-998-0163 |  |  |  | 505-856-0404
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 3pm |  |  |  | Rain
Construction Phase: |  | Vertical | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 85 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2023-09-14 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | The superintendent was away from the site upon inspectors' arrival and sent a representative to provide access to the SWPPP, but the signed inspection reports were unavailable at the time of inspection in violation of CGP Part 4.7.3. Required mitigation: The EPA allows the inspection reports to be prepared, signed, and kept electronically with the caveat that the reports can be accessed and read in the same way as paper. These electronic records must be immediately accessible to the inspector during an inspection to the same extent as a paper copy stored at the site would be. The EPA considers electronic records to be accessible enough to be stored at the site when the operator is able to, immediately, upon request, provide electronic access using hardware and software available at the site.
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Via email | Latest report Date: |  | 2023-09-18
Notes:
Inspections Plus will add the City to the emailed circulation of self-inspection reports. Previous violations have been mitigated. The construction exit needs clearing of sediment and the washout pit is near capacity.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action