## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | D17E112 |  | Project Name: |  | Allaso JC-Six Apartments
NPDES Id. No. | NMR1005DB |  | Location: |  | 7501 Jefferson St. NE
2025-01-30 |  | Owner |  |  |  | Contractor
Operator |  | Titan JC6 LLC |  |  |  | HB Construction
Contact name & title |  | Josh Rogers |  |  |  | Zach Gruen
e-mail |  | jrogers@titan-development.com |  |  |  | zachg@hbconstruction.com
Contact Phone # |  | 505-998-0163 |  |  |  | 505-856-0404
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 1130am |  |  |  | Rain
Construction Phase: |  | Exteriors, interiors | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 50 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2024-11-07 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | None
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Yes | Latest report Date: |  | 2025-01-08
Notes:
Sediment is building up along Tiburon St and Masthead St near the construction exitss and should be swept up. The construction exit on Masthead St needs maintenance to prevent more track-out.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action