May 17, 2013

Fred C. Arfman, P.E.		freda@iacivil.com

Isaacson & Arfman, P.A.

128 Monroe Street N.E.

Albuquerque, NM 87108

Re:	Broadstone Santa Monica, Buildings 26 & 27

Request for Permanent C.O.  – Not Accepted

Engineer’s Stamp dated: 04-10-12, (D18/D054)

Certification dated: 05-15-13

Dear Mr. Arfman,

Based upon the information provided in the Certification received 05-15-13, the above referenced Certification is not acceptable for release of a Permanent Certificate of Occupancy by Hydrology. The following comments need to be addressed before a CO is given for phase 3.

- Include certification language and seal on sheets CG.1 and CG.2

- The berm along Derickson Ave does not appear to be compacted to the specified 90% compaction.

- There is a low spot at the construction entrance allowing flows to enter Derickson Ave. instead of flowing to the inlet at the NW pond. There is also a high spot just to the west of the entrance.

If you have any questions, you can contact me at 924-3986 or Rudy Rael at 924-3977.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Hydrology Dept.

Planning, BRS

C:	email