April 26, 2012

Asa Nilsson-Weber, P.E.

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, NM 87108

Re:	Broadstone Santa Monica Place

Grading and Drainage Plan

Engineer’s Stamp dated 4-10-2012 (D18/D054)

Dear Ms. Nilsson-Weber,

Based upon the information provided in your submittal received 4-10-2012, the above referenced submittal is approved for Grading Permit and Building Permit.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.  Please attach a copy of the approved plans to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit (http://www.cabq.gov/planning/landcoord/documents/EPA-NMS000101-FinalPermit.pdf).

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail