|  | Date: 07/29/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Santa Monica Estates |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 46 | Dirt is discharing into the streets due to sites under construction. Install inlet protection and sweep the streets. The lots under construction no longer belong to Santa Monica Development. | 01/26/17 |  | 02/09/17 |
| 47 | No site BMP corrective actions noted at time of inspection. | 02/09/17 |  | 02/09/17 |
| 48 | Site BMP's are in good working condition at time of inspection. No additional site BMP corrective actions noted at time of inspection. | 02/23/17 |  | 02/23/17 |
| 49 | Re-install 2 rock bags and mulch sock at one inlet on Promenade Rd. | 03/09/17 |  | 03/23/17 |
| 50 | No additional site BMP corrective actions noted at time of inspection. | 03/23/17 |  | 03/23/17 |
| 51 | All lots not under construction have swales behind the curb. No additional site BMP corrective actions noted at time of inspection. | 04/06/17 |  | 04/06/17 |
| 52 | No additional site BMP corrective actions noted at time of inspection. | 04/20/17 |  | 04/20/17 |
| 53 | Sweep the street on Laguna Niguel | 05/04/17 |  | 05/18/17 |
| 54 | Clean the storm inlets X4 at Promenade and laguna. | 05/18/17 |  | 06/01/17 |
| 55 | Install mulch sock at the NE inlet at Promenade and Laguna. | 05/18/17 |  | 06/01/17 |
| 56 | No additional site BMP corrective actions noted at time of inspection. | 06/01/17 |  | 06/01/17 |
| 57 | Site BMP's in good working condition with no site BMP corrective actions noted at time of inspection. | 06/15/17 |  | 06/15/17 |
| 58 | Street sweeping needed on Promenade. | 06/22/17 |  | 06/29/17 |
| 59 | Sweep around the inlet at Promenade and Ojai. | 06/22/17 |  | 06/29/17 |
| 60 | Add mulch sock to the inlet at lot 6713 Promenade. | 06/22/17 |  | 06/29/17 |
| 61 | No additional site BMP corrective actions noted at time of inspection. | 06/29/17 |  | 06/29/17 |
| 62 | Current site BMP's are in good working condition with no additional site BMP corrective actions noted at time of inspection. | 07/06/17 |  | 07/06/17 |
| 63 | No additional site BMP corective actions noted at time of inspection. | 07/13/17 |  | 07/13/17 |
| 64 | sweep the streets on Promenade, Laguna Niguel | 07/20/17 |  | 08/24/17 |
| 65 | No additional site BMP corrective actions noted at time of inspection. | 07/26/17 |  | 07/26/17 |
| 66 | Sweep the dirt from the streets on Promenade and from Laguna Niguel | 08/03/17 |  | 08/17/17 |
| 67 | No additional site BMP corrective actions noted at time of inspection. | 08/10/17 |  | 08/10/17 |
| 68 | No additional site BMP corrective actions noted at time of inspection. | 08/17/17 |  | 08/17/17 |
| 69 | No site BMP corrective actions noted at time of inspection. | 08/24/17 |  | 08/24/17 |
| 70 | No additional site BMP corrective actions noted at time of inspection. | 08/31/17 |  | 08/31/17 |
| 71 | Sediment and trash on inlets and grates. Corective action in progress at the time of inspection | 09/07/17 |  | 09/07/17 |
| 72 | Concrete washout needs to be moved to a more central location. Washout should be close to current work in progress. | 09/07/17 |  | 10/12/17 |
| 73 | No site BMP corrective actions noted at time of inspection. | 09/14/17 |  | 09/14/17 |
| 74 | Rock bags on inlets at the West end Promenade ave. have been destroyed by vehicles running them over; gravel falling out. Trash / litter compiling up in inlets. | 09/21/17 |  | 09/28/17 |
| 75 | Inspector repaired Silt fence at Ojai Street and collected trash at inlet West end of Promenade. No additional site BMP corrective actions noted at time of inspection. | 09/28/18 |  | 09/28/18 |
| 76 | Washout on empty lot at Dana Point and Promenade. | 10/12/17 |  | 01/10/18 |
| 77 | Clean concrete washout in the curb on Brentwood and Promenade, 7316 and 7300. | 10/27/17 |  | 11/13/17 |
| 78 | No additional site BMP corrective actions noted at time of inspection. | 11/13/17 |  | 11/1317 |
| 79 | No site BMP corrective actions noted at time of inspection. | 11/28/17 |  | 11/28/17 |
| 80 | No site BMP corrective actions noted at time of inspection. | 12/14/17 |  | 12/14/17 |
| 81 | Updated NOI required. | 12/28/17 |  | 01/10/18 |
| 82 | Stockpiles in empty lot across the street (West) of 7320 Laguna Nigel. Dirt atop curb. | 12/28/17 |  | 02/07/18 |
| 83 | Stockpiles at curb to be moved back at Promenade and Dana Point. | 12/28/17 |  | 02/07/18 |
| 84 | Repair/ replace gravel bags at inlet on West end of Promenade. | 12/28/17 |  | 01/10/18 |
| 85 | Cutback at curb required at 6821 Promenade. | 01/10/18 |  | 02/07/18 |
| 86 | Repair downed silt fence at Promenade and Dana Point handicap access. | 01/24/18 |  | 02/22/18 |
| 87 | Repair Silt fence at 7304 Dana Point. Cut back at curb working, 02/07/18. | 01/24/18 |  | 02/07/18 |
| 88 | Repair downed silt fence and clean makeshift concrete washout on lot #30 Ojai St. | 01/24/18 |  | 02/07/18 |
| 89 | Clear sediment and replace swale or wattle on the east end of Dana Point. Stillbrook sites creating dirt in curb. *** Disregard, Stillbrook lots.** | 02/07/18 |  | 02/22/18 |
| 90 | Remove stockpile from curb at lot #76/ 77 Dana Point. | 02/22/18 |  | 03/23/18 |
| 91 | No site BMP corrective actions noted at time of inspection. | 03/08/18 |  | 03/18/18 |
| 92 | Install silt fence between existing homes and dirt lots: 6716 and 6712 Napa. Also at 6720 and 6724 Napa. | 03/23/18 |  | 04/05/18 |
| 93 | Clean up escaped concrete washout at roll off site, Approx. lot #9 Laguna Nigel. | 04/05/18 |  | 04/20/18 |
| 94 | Curb sweep and maintain cut back at curb, small section, on lot #23 Laguna Nigel. | 04/05/18 |  | 04/20/18 |
| 95 | No site BMP corrective actions noted at time of inspection. | 04/20/18 |  | 04/20/18 |
| 96 | No site BMP corrective actions noted at time of inspection. | 05/04/18 |  | 05/04/18 |
| 97 | No site BMP corrective actions noted at time of inspection. | 05/18/18 |  | 05/18/18 |
| 98 | No site BMP corrective actions noted at time of inspection. | 06/01/18 |  | 06/01/18 |
| 99 | No site BMP corrective actions noted at time of inspection. | 06/08/18 |  | 06/08/18 |
| 100 | No site BMP corrective actions noted at time of inspection. | 06/18/18 |  | 06/18/18 |
| 101 | Remove stockpile from the curb and maintain the cut back at the curb: 6708 Napa. | 06/25/18 |  | 08/06/18 |
| 102 | No additional site BMP corrective actions noted at time of inspection. | 07/02/18 |  | 07/02/18 |
| 103 | No additional site BMP corrective actions noted at time of inspection. | 07/09/18 |  | 07/09/18 |
| 104 | No additional site BMP corrective actions noted at time of inspection. | 07/16/18 |  | 07/16/18 |
| 105 | No additional site BMP corrective actions noted at time of inspection. | 07/23/18 |  | 07/23/18 |
| 106 | Street sweeping may be required on Laguna Nigel. Will monitor after recent rain event and wind storms. No additional site BMP corrective actions noted. | 07/30/18 |  | 07/30/18 |
| 107 | No additional site BMP corrective actions noted at time of inspection. | 08/06/18 |  | 08/06/18 |
| 108 | No additional site BMP corrective actions noted at time of inspection. | 08/13/18 |  | 08/13/18 |
| 109 | Stillbrooke has been asked to repair the inlets at Promenade and Ojai. Several weeks have passed and inlets are not repaired. Inlets may fall on "Santa Monica Estates" if the city performs an inspection. No site BMP corrective actions noted at time of inspection. | 08/20/18 |  | 08/20/18 |
| 110 | No additional site BMP corrective actions noted at time of inspection. | 08/27/18 |  | 08/27/18 |
| 111 | No additional site BMP corrective actions noted at time of inspection. | 09/04/18 |  | 09/04/18 |
| 112 | No additional site BMP corrective actions noted at time of inspection. | 09/10/18 |  | 09/10/18 |
| 113 | No additional site BMP corrective actions noted at time of inspection. Stillbrooke has been asked to repair the inlets at Promenade and Ojai. Several weeks have passed and inlets are not repaired. Inlets may fall on "Santa Monica Estates" if the city performs an inspection. | 09/17/18 |  | 09/17/18 |
| 114 | No additional site BMP corrective actions noted at time of inspection. | 09/24/18 |  | 09/24/18 |
| 115 | No additional site BMP corrective actions noted at time of inspection. | 10/01/18 |  | 10/01/18 |
| 116 | No site BMP corrective actions noted at time of inspection. | 10/15/18 |  | 10/15/18 |
| 117 | Curb and street sweeping required 7301 through 7305 Laguna Nigel. | 10/30/18 |  | 11/12/18 |
| 118 | Remove escaped concrete washout from lot: 7317 Laguna Nigel. | 10/30/18 |  | 11/12/18 |
| 119 | No site BMP corrective actions noted at time of inspection. RAIN EVENT'S: 10/30/18 = 0.13" --10/31/18 = 0.14" | 11/12/18 |  | 11/12/18 |
| 120 | No site BMP corrective actions noted at time of inspection. | 11/26/18 |  | 11/26/18 |
| 121 | No site BMP corrective actions noted at the time of inspection. Rain event on 12/02/18= 0.09" | 12/10/18 |  | 12/10/18 |
| 122 | No site BMP corrective actions noted at the time of inspection. | 12/24/18 |  | 12/24/18 |
| 123 | No site BMP corrective actions noted at the time of inspection. New ground work East of current property boundary, " Tract 4-A-1". | 01/07/19 |  | 01/07/19 |
| 124 | Storm event "runoff" per weather underground: 12/26/18=0.21". | 01/07/19 |  | 01/07/19 |
| 125 | No site BMP corrective actions noted at the time of inspection. Storm events: 01/10/19=0.12"; 01/11/19=0.16"; 01/13/19=0.14"; 01/18/19=0.13" | 01/21/19 |  | 01/21/19 |
| 126 | Phase II in progress to the South/ Walnut Creek Rd. Silt fence required behind the curb along Santa Monica Ave. per ECP. | 02/04/19 | Cut back maintained. | 03/05/19 |
| 127 | 6704 Napa: Repair silt fence at block wall end, sweep sidewalk when complete. | 02/19/19 |  | 03/05/19 |
| 128 | 7301 through 7307 Laguna Nigel: Remove sediment from gutter/ curb sweeping required. | 02/19/19 |  | 03/05/19 |
| 129 | 7301 Laguna Nigel, South end at new construction: Remove stucco and concrete washout on ground at "Road Closed" sign/ Phase II boundary. . | 02/19/19 |  | 03/05/19 |
| 130 | Replace wattles at the end of the roadway: 7301 Laguna Nigel | 03/05/19 | Cut back maintained. | 06/18/19 |
| 131 | Fluff wattles/ trench in wattles SW corner, Phase II at Santa Monica and apartment boundary. | 03/05/19 |  | 03/19/19 |
| 132 | Remove concrete washout pile: 6749 Promenade. | 03/05/19 | Stillbrooke lots. | 03/19/19 |
| 133 | Maintain the cut back at the curb: 6745 Promenade. | 03/05/19 | Stillbrooke lots. | 03/19/19 |
| 134: | Storm Events: 02/22/19=0.04", 02/23/19=0.08" Per Weather Underground: Meadowbrook Mobile Home Park KNMALBUQ460 | 03/05/19 |  | 03/05/19 |
| 135 | Rain event report completed on 03/13/19. See inspection report log for details: 03/11/19=0.20"; 03/12/19=0.60" | 03/13/19 |  | 03/13/19 |
| 136 | 7301 Laguna Nigel, South end at new construction: Remove stucco and concrete washout on ground at "Road Closed" sign/ Phase II boundary. | 03/19/19 |  | 04/02/19 |
| 137 | 6700 Napa: Repair silt fence at block wall end, sweep sidewalk when complete. | 03/19/19 | Abrazo lot. | 03/19/19 |
| 138 | 6700 Napa: Remove stucco and concrete washout on ground at roll off location. | 03/19/19 |  | 04/02/19 |
| 139 | Install silt fence in SW corner of Phase II, near Abrazo sign and apartment boundary. | 04/02/19 | Block wall. | 04/30/19 |
| 140 | Storm Event: 03/31/19=0.10" per Weather Underground: Jade Park | 04/02/19 |  | 04/02/19 |
| 141 | Remove concrete and stucco washout from the ground at 6700 Napa. Additional washout on the sidewalk, west side of the block wall at 6700 Napa. | 04/16/19 |  | 05/13/19 |
| 142 | Storm Events: 04/17/19=0.45"; 04/22/19= 0.65" per Weather Underground: Jade Park. Storm inspection reports completed on 04/18/19 and 04/23/19. | 04/30/19 |  | 04/30/19 |
| 143 | Inlet protection required on Laguna Nigel (Phase 2), per ECP. | 04/30/19 |  | 06/18/19 |
| 144 | Remove concrete washout piles from the ground and place in a designated washout facility. | 04/30/19 |  | 05/13/19 |
| 145 | No additional site BMP corrective actions noted at the time of inspection. Storm events on 05/10/19= 0.30", 05/11/19= 0.31". SWPPP inspection completed on Monday, 05/13/19 to accommodate storm activity. | 05/13/19 |  | 05/13/19 |
| 146 | Storm Events: 05/20/19=0.10" | 05/21/19 |  | 05/21/19 |
| 147 | Maintain inlet BMP (gravel bags), replace or repair: 6701, 6709 Promenade. | 05/28/19 |  | 06/25/19 |
| 148 | Remove concrete washout from lot: 6700 Napa. | 05/28/19 |  | 06/11/19 |
| 149 | Maintain the cut back at the curb: 6700 Napa. | 06/11/19 | Abrazo lot. | 06/11/19 |
| 150 | Maintain the cut back at the curb: 6737 Promenade. | 06/11/19 |  | 06/18/19 |
| 151 | Clear inlet of washout, sediment and debris: 6733 Promenade. | 06/11/19 |  | 06/18/19 |
| 152 | Block wall at the South end of Phase 2 in place. Curb and gutter sweeping required along Santa Monica Ave NE from block wall work. | 06/11/19 |  | 06/18/19 |
| 153 | Replace fractured rock trackout pad at earliest opportunity, Phase II at the Brentwood exit. | 06/18/19 | Street paved. | 07/09/19 |
| 154 | No additional site BMP corrective actions noted at the time of inspection. | 06/25/19 |  | 06/25/19 |
| 155 | Street sweeping required at the Brentwood, phase II, construction exit. | 07/02/19 |  | 07/09/19 |
| 156 | Storm events on 07/01/19= 0.03" | 07/02/19 |  | 07/02/19 |
| 157 | Repair inlet at Promenade and Laguna Nigel. | 07/08/19 |  |  |
| 158 | Install wattle or similar BMP: 6737 Promenade. | 07/08/19 |  |  |
| 159 | Repair inlets and maintain inlet BMP's: Laguna Nigel and Walnut Creek, North side- 3 inlets. | 07/16/19 |  |  |
| 160 | Install silt fence at sidewalk/ handicap ramp ends: Laguna Nigel and Walnut Creek, Souh side. | 07/16/19 |  |  |
| 161 | Storm events on 07/13/19= 0.15" | 07/16/19 |  | 07/16/19 |
| 162 | Repair inlets: 7324 Promenade. 6733 Promenade. | 07/23/19 |  |  |
| 163 | South side of Walnut Creek at Laguna Nigel. Install check dams in swale, silt at handicap ramp. Sweep ramp when complete. | 07/29/19 |  |  |
| 164 | Repair inlets: 6709 Promenade x 2. Laguna Nigel, North of Walnut Creek x 3. 6729/6733 Promenade x2. | 07/29/19 |  |  |
| 165 | Storm event on 07/26/19= 0.90" | 07/29/19 |  | 07/29/19 |
| SWPPP Management Signature: Date: |  |  |  |  |