December 28, 2011

Scott M. McGee, P.E.

9700 Tanoan Dr NE

Albuquerque, NM 87111

Re:	Albuquerque Memory Care Facility, 8101 Palomas Ave NE, (D19/D028),

Request for Permanent Certificate of Occupancy - Approved

Approved Engineer’s Stamp date: 1/20/11,

Certification dated: 12-22-11

Dear Mr. McGee,

Based upon the information provided in the submittal received 12-23-11, the above referenced Certification is approved for release of Permanent Certificate of Occupancy by Hydrology.

The water blocks at the drive entrances were not constructed as designed. Hydrology recommends building a “hump” north of the ADA access paths to function as a water block.

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer—Hydrology

Development and Building Services

Copy: e-mail

CO Clerk—Katrina Sigala