## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | D19E031 |  | Project Name: |  | Palomas Peak Phase 2
NPDES Id. No. | NMR1002Q1 |  | Location: |  | 8310 Palomas Ave. NE |  |  |  |  | Steve Lakey
2023-04-10 |  | Owner |  |  |  | Contractor |  |  |  | Trinity
Operator |  | Palomas Peak, LLC |  |  |  | Trinity |  |  |  | steven@trinitynm.com
Contact name & title |  | Eric Tidmore |  |  |  | Chuck Wilkins |  |  |  | 505-803-1928
e-mail |  | eric@trinitynm.com |  |  |  | chuck@trinitynm.com
Contact Phone # |  | 505-830-1928 |  |  |  | 505-850-4505
COA Inspector |  | Doug Hughes |  |  |  | Start/End Time: | 2pm |  |  |  | Rain
Construction Phase: |  | Stabile & Occupied | [8 empty] | Clear/ Windy
Type of Inspection: |  |  |  | Storm Event | Past Storm Event >0.25" |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | clear |  | Temperature: ~ |  | 78 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [5 empty] | 2023-03-16 |  |  |  | 2021-02-22 | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [10 empty] | Fog
Item Number | Deficiency/ Corrective Action | [8 empty] | 2021-04-28
1 | None. | [8 empty] | 2021-05-03
| The Final Stabilization Criteria CGP2.2.14.c has been satisfied. Now you must send documentation of the Final Stabilization to the EPA with a Notice of Termination (NOT) per CGP 8.2 to end your coverage under the CGP. This step is independent of the Certificate of Occupancy. Please copy me with the documentation and the EPA’s acceptance of the NOT. | [8 empty] | 2021-05-31
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [5 empty] | No
4 | Self Inspection Reports |  |  | Requested | Latest report Date:
Notes: | Permit Coverage is expired - file NOT anyway.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Thomas Evans (505-803-6215)
tevans@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action