March 26, 2012

J. Arthur Blessen, P.E.

J. Arthur Blessen Engineering

11930 Menaul Blvd NE, Suite 109

Albuquerque, NM 87112

Re:	Gate of Heaven Cemetery

Site Grading Plan

Engineer’s Stamp dated 3-26-12 (D19/D001A)

Dear Mr. Blessen,

Based upon the information provided in your submittal received 3-27-12, the above referenced plan is approved for Grading Permit and Building Permit. Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit.  The permit is available online at www.cabq.gov/Planning/landcoord/Hydrology

If you have any questions, you can contact me at 924-3986 or Rudy Rael at 924-3977.

Sincerely,

Curtis A. Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

RER/CAC

C:	file